## HR
Community | Waste Heat Recovery Opperational | Add waste heat Avail | Est. current annual heating fuel gallons displaced | Est. potential annual heating fuel gallons displaced | Project Name | Year | Phase Completed | New/Repair/Extension | Total Round-trip Distance of Piping (feet) | Number of Buildings/Facilities | Buildings/Facilities to be Served | Proposed Gallons of Diesel Offset | Proposed Maximum Btu/hr | Total CAPEX | Source
Adak | No | No | N/A | N/A
Akhiok | No | No | unknown | unknown
Akiachak | Yes | Yes | N/A | N/A
Akiak | Yes | Yes | N/A | N/A
Akutan | No | No | N/A | N/A
Alakanuk | Yes | No | unknown | unknown
Allakaket | Yes | Yes | unknown | unknown
Ambler | No | No | unknown | unknown
Anaktuvuk Pass | Yes | Yes | unknown | unknown
Angoon | Yes | Yes | 0 | 0
Aniak
Anvik | Yes | No | unknown | unknown
Arctic Village | Yes | Yes | unknown | unknown
Atka | No | No | N/A | N/A
Atmautluak | No | No | N/A | N/A | 0 | 2010 | Feasibility | New | 1100 | 1 | Wasteteria | 4395 | 165000 | 338578 | AE&E
Atqasuk
Barrow
Beaver | Yes | Yes | 18250 | none
Bethel | Yes | Yes | unknown | unknown
Bettles | No | No | N/A | N/A
Birch Creek | No | No | N/A | N/A
Brevig Mission | Yes | No | unknown | unknown | Brevig Mission Water System Heat Recovery | 2013 | Feasibility | New | 1100 | 2 | WTP, Washeteria | 14837 | 1000000 | 627495 | ANTHC HR Study
Buckland | Yes | Yes | see notes | nee notes
Central | Yes | No | unknown | unknown
Chalkyitsik | Yes | No | unknown | unknown
Chefornak | Yes | No | N/A | N/A
Chenega Bay | Yes | No | unknown | unknown
Chevak | Yes | Yes | N/A | N/A | Chevak Water and Vacuum Plant Heat Recovery | 2013 | Feasibility | New | 1200 | 2 | WTP, Vacuum Pump Station | 12500 | 300000 | 526737 | ANTHC HR Study
Chignik | Yes | No | N/A | N/A
Chignik Lagoon | Yes | No | unknown | unknown
Chignik Lake | Yes | No | unknown | unknown
Chilkat Valley | No | No | unknown | unknown
Chistochina | No | No | N/A | N/A
Chitina | Yes | Yes | unknown | unknown
Chuathbaluk | No | No | 0 | 0
Circle | No | No | N/A | N/A
Clarks Point | Yes | No | unknown | unknown
Coffman Cove | No | No | unknown | unknown
Cold Bay | Yes | No | unknown | unknown | Cold Bay Waste Heat Recovery Project | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cordova | Yes | No | unknown | unknown
Craig | No | No | unknown | unknown
Crooked Creek | Yes | No | unknown | unknown
Deering | Yes | No | unknown | unknown
Dillingham | Yes | No
Diomede
Eagle | Yes | Yes | unknown | unknown
Eek | Yes | No | N/A | N/A
Egegik | No | No | N/A | N/A
Ekwok | No | No | N/A | N/A
Elfin Cove | Yes | No | unknown | unknown
Elim | Yes | No | unknown | unknown
Emmonak | Yes | No | unknown | unknown | Emmonak Heat Recovery System | 2013 | Feasibility | New | 1000 | 3 | WTP, Boy & Girls Club, City Office/Hotel | 18879 | 660000 | 564252 | ANTHC HR Study
False Pass | Yes | No | 12775 | unknown
Fasle Island | No | No | unknown | unknown
Fort Yukon | No | No | N/A | N/A
Galena | Yes | No | 36500 | unknown
Gambell
Glennallen
Golovin | Yes | No | unknown | unknown
Goodnews Bay | Yes | Yes | N/A | N/A
Grayling | No | No | N/A | N/A
Gustavus | No | No | unknown | unknown
Haines
Healy Lake | No | No | N/A | N/A
Hollis | No | No | unknown | unknown
Holy Cross | No | No | 0 | 0 | Holy Cross Power Plant Heat Recovery for Water Distribution System | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hoonah
Hooper Bay | Yes | No | N/A | N/A
Hughes | Yes | No | unknown | unknown
Huslia | Yes | No | unknown | unknown
Hydaburg | No | Yes | unknown | unknown
Igiugig | Yes | Yes | unknown | unknown
Ivanof Bay | No | No | N/A | N/A
Juneau
Kake | No | No | unknown | unknown
Kaktovik | Yes | No | unknown | unknown
Kaltag | Yes | No | unknown | unknown
Karluk | No | No | unknown | unknown
Kasaan | No | No | unknown | unknown
Kasigluk | Yes | Yes | N/A | N/A
Ketchikan
Kiana | Yes | No | unknown | unknown
King Cove | Yes | Yes | work being completed | none
Kipnuk | Yes | No
Kivalina | Yes | No | operator new, not aware AVEC has records | operator new, not aware AVEC has records
Klawock
Kobuk | No | No | N/A | N/A
Kodiak
Kokhanok | Yes | No | unknown | unknown
Koliganek | Yes | No | unknown | unknown
Kongiganak | Yes | Yes | unknown | unknown
Kotlik | Yes | No | unknown | unknown
Kotzebue
Koyuk | Yes | No | unknown | unknown
Koyukuk | Yes | Yes | 18250 | none
Kwethluk | Yes | Yes | N/A | N/A
Kwigillingok | Yes | Yes | 0 | 0
Larsen Bay | No | No | 0 | 0
Levelock | Yes | Yes | 9300 | 900
Lime Village
Manley Hot Springs | Yes | No | unknown | unknown
Manokotak | Yes | Yes | unknown | unknown
Marshall | Yes | No | unknown | unknown | 0 | 2012 | Feasibility | Repair | 0 | 2 | Store, WTP | 0 | 0 | 183200 | ANTHC HR Study
McGrath | Yes | No | 60000 | unknown
Mekoryuk | Yes | No | N/A | N/A
Metlakatla
Minto | Yes | Yes | unknown | unknown
Mountain Village | Yes | No | unknown | unknown
Naknek | Yes | No
Napakiak | No | No | N/A | N/A
Napaskiak | No | No | N/A | N/A
Naukati Bay | Yes | Yes | unknown | unknown
Nelson Lagoon | No | No | N/A | N/A
New Stuyahok | Yes | No | unknown | unknown | New Stuyahok Heat Recovery | 0 | Operation | 0 | 0 | 0 | School | 0 | 0 | 0 | 0
Newhalen | Yes | Yes | 5000 | 16000
Newtok
Nightmute | No | No | N/A | N/A
Nikolai | No | No | N/A | N/A
Nikolski | Yes | No | 660 | none
Noatak | No | No | unknown | unknown
Nome | Yes | No | unknown | unknown
Noorvik | No | No | N/A | N/A | Heat Recovery for the Water Treatment Plant | 2012 | Feasibility | New | 3600 | 1 | WTP | 18600 | 400000 | 986000 | ANTHC HR Study
Northway | No | No | N/A | N/A
Nuiqsut | Yes | No | unknown | unknown
Nulato | Yes | No | 7300 | none
Nunam Iqua | Yes | No | 9000 | unknown
Nunapitchuk | Yes | No | N/A | N/A
Old Harbor | No | No | N/A | N/A
Ouzinkie | No | No | 0 | 0
Pedro Bay | No | No | N/A | N/A
Pelican | No | No | unknown | unknown
Perryville | Yes | Yes | 10950 | unknown
Petersburg
Pilot Point | Yes | Yes | unknown | unknown
Pilot Station
Pilot Station | No | No | 0 | 0
Platinum | Yes | No | N/A | 0
Point Hope
Point Lay
Port Alsworth | Yes | No | 14600 | 2500
Port Heiden | Yes | No | unknown | unknown
Quinhagak | No | Yes | unknown | unknown
Rampart | No | No | unknown | unknown
Red Devil | No | No | 0 | 0
Ruby | Yes | Yes | 14600 | 3650
Russian Mission | Yes | No | unknown | unknown | Russian Mission Heat Recovery System | 2011 | Feasibility | New | 1200 | 1 | WTP | 2200 | 70000 | 351929 | ANTHC HR Study
Saint George | No | No | N/A | N/A
Saint Mary's | Yes | No | unknown | unknown | St Marys Heat Recovery System | 2013 | Feasibility | New | 1600 | 4 | City Shop, Water Circulation, Cold Storage/Hotel, City Office | 15726 | 510000 | 715243 | ANTHC HR Study
Saint Michael | No | No | N/A | N/A
Saint Paul | Yes | No | unknown | unknown
Sand Point | Yes | No | 3650 | 18250
Savoonga | Yes | No | unknown | unknown
Scammon Bay | Yes | No | N/A | N/A
Selawik | Yes | Yes | unknown | unknown
Shageluk | Yes | No | unknown | unknown
Shaktoolik | Yes | No | unknown | unknown
Shishmaref | Yes | No | unknown | unknown | Shishmaref Heat Recovery Project | 2010 | Feasibility | New | 400 | 3 | City office, Clinic, WTP | 7900 | 260000 | 327201 | ANTHC HR Study
Shungnak | Yes | No | unknown | unknown
Sitka
Skagway
Slana | Yes | No | unknown | unknown
Sleetmute | No | No | 0 | 0
Stebbins | No | No | N/A | N/A | Stebbins Heat Recovery Project | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Stevens Village | Yes | Yes | unknown | unknown
Stony River | No | No | 0 | 0
Takotna | No | No | N/A | N/A
Tanana | Yes | Yes | unknown | unknown
Tatitlek | No | No | unknown | unknown
Telida | No | No | N/A | N/A
Teller | No | No | N/A | N/A
Tenakee Springs | No | No | unknown | unknown
Thorne Bay | No | No | unknown | unknown
Togiak | Yes | No | unknown | unknown | Togiak Waste Heat Recovery Project | 2010 | Feasibility | Repair | 1200 | 5 | Clinic, Police Station, WTP, City Office, Old School | 13700 | 523000 | 486180 | ANTHC HR Study
Tok | Yes | No | unknown | unknown
Toksook Bay | Yes | Yes | N/A | N/A
Tuluksak | No | No | N/A | N/A
Tuntutuliak | No | No | 0 | 0 | Tuntutuliak Heat Recovery | 2013 | Feasibility | New | 1400 | 1 | WTP/Washeteria | 6145 | 300000 | 429000 | ANTHC HR Study
Tununak | No | No | N/A | N/A
Twin Hills | No | No | N/A | N/A
Unalakleet | Yes | Yes | unknown | unknown
Unalaska | Yes | No | unknown | unknown
Upper Kalskag | No | No | unknown | unknown
Valdez | Yes
Venetie | Yes | No | 2000 | unknown | Venetie Clinic Heat Recovery | 2013 | Feasibility | Extension | 300 | 1 | Clinic | 2267 | 200000 | 191091 | ANTHC HR Study
Wainwright | Yes | Yes | unknown | unknown | Wainwright Heat Recovery | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wales | No | No | unknown | unknown
Whale Pass | Yes | No | unknown | unknown
White Mountain | Yes | No | unknown | unknown
Wrangell
Yakutat | Yes | Yes | unknown | unknown