## RE Capacity For Model
Row Labels | Resource Type | Sum of Capacity (kW) | Sum of Average Annual Generation (kWh)
Akutan | Hydro | 105 | 312652
Atka | Hydro | 284 | 443142
Chevak | Wind | 400 | 1103760
Chignik Bay | Hydro | 60 | 300000
Chignik Lagoon | Hydro | 167 | 521200
Cordova | Hydro | 7250 | 19482939
Emmonak | Wind | 400 | 699206
Gambell | Wind | 300 | 1103760
Glennallen-Valdez | Hydro | 18500 | 60056617
Gustavus | Hydro | 800 | 1939011
Haines/Skagway | Hydro | 8828 | 27365632
Hoonah | Hydro | 450 | 1810000
Hooper Bay | Wind | 300 | 814680
Iliamna | Hydro | 824 | 4048161
Juneau | Hydro | 106600 | 430000000
Kasigluk | Wind | 300 | 840960
King Cove | Hydro | 800 | 1997981
Kodiak | Hydro | 34000 | 135000000
Kodiak | Wind | 9000 | 26017200
Kokhanok | Wind | 180 | 531381.6
Kongiganak | Wind | 475 | 1019445
Kotzebue | Wind | 1800 | 4478112
Kwigillingok | Wind | 475 | 4173184
Larsen Bay | Hydro | 475 | 773021
Mekoryuk | Wind | 200 | 480048
Metlakatla | Hydro | 5000 | 21036690
Nikolski | Wind | 65 | 204984
Nome | Wind | 2970 | 5960707
Ouzinkie | Hydro | 125 | 167000
Pelican | Hydro | 650 | 799494
Perryville | Wind | 24 | 31536
Port Armstrong Hatchery | Hydro | 249 | 0
Port Bailey Cannery | Hydro | 75 | 0
Prince of Wales | Hydro | 11275 | 51590054
Quinhagak | Wind | 300 | 620208
Railbelt | Hydro | 181435 | 605084077
Railbelt | Wind | 43200 | 123139320
Saint Paul | Wind | 225 | 696748.5
Sand Point | Wind | 1000 | 1408608
Savoonga | Wind | 200 | 579912
Selawik | Wind | 260 | 296088
Shaktoolik | Wind | 200 | 411720
Sitka | Hydro | 34245 | 164000000
Tenakee Springs | Hydro | 180 | 1169000
Tin City | Wind | 225
Toksook Bay | Wind | 400 | 219000
Tuntutuliak | Wind | 475 | 865488
Unalakleet | Wind | 600 | 1093248
Wales | Wind | 130 | 398580
Wrangell/Petersburg/Ketchikan | Hydro | 63100 | 298144400
Grand Total |  | 539581 | 2003228955.1

## RE Capacity by project
Community | Project Name | Resource Type | Resource Sub-Type | Capacity (kW) | Average Annual Generation (kWh)
Akutan | Town Creek | Hydro | run-of-river | 105 | 312652
Atka | Chuniisax Creek | Hydro | run-of-river | 284 | 443142
Chevak |  | Wind |  | 400 | 1103760
Chignik Bay | Chignik | Hydro | storage | 60 | 300000
Chignik Lagoon | Packers Creek | Hydro | run-of-river | 167 | 521200
Cordova | Humpback Creek | Hydro | run-of-river | 1250 | 3553542
Cordova | Power Creek | Hydro | run-of-river | 6000 | 15929397
Emmonak |  | Wind |  | 400 | 699206
Gambell |  | Wind |  | 300 | 1103760
Glennallen-Valdez | Allison Creek | Hydro | run-of-river | 6500 | 15056617
Glennallen-Valdez | Solomon Gulch | Hydro | storage | 12000 | 45000000
Gustavus | Falls Creek | Hydro | run-of-river | 800 | 1939011
Haines/Skagway | 10 Mile Creek | Hydro | run-of-river | 600 | 1000000
Haines/Skagway | Dewey Lakes | Hydro | run-of-river | 943 | 3137760
Haines/Skagway | Goat Lake | Hydro | storage | 4000 | 15617000
Haines/Skagway | Kasidaya Creek | Hydro | run-of-river | 3000 | 7446440
Haines/Skagway | Lutak | Hydro | run-of-river | 285 | 164432
Hoonah | Gartina Falls | Hydro | run-of-river | 450 | 1810000
Hooper Bay |  | Wind |  | 300 | 814680
Iliamna | Tazimina | Hydro | run-of-river | 824 | 4048161
Juneau | Annex Creek | Hydro | lake tap | 4000 | 26000000
Juneau | Gold Creek | Hydro | run-of-river | 1600 | 4500000
Juneau | Lake Dorothy | Hydro | lake tap | 14300 | 75000000
Juneau | Salmon Creek | Hydro | storage | 8500 | 29500000
Juneau | Snettisham | Hydro | lake tap | 78200 | 295000000
Kasigluk |  | Wind |  | 300 | 840960
King Cove | Delta Creek | Hydro | run-of-river | 800 | 1997981
Kodiak | Terror Lake | Hydro | lake tap | 34000 | 135000000
Kodiak | Pillar Mtn. | Wind |  | 9000 | 26017200
Kokhanok |  | Wind |  | 180 | 531381.6
Kongiganak |  | Wind |  | 475 | 1019445
Kotzebue |  | Wind |  | 1800 | 4478112
Kwigillingok |  | Wind |  | 475 | 4173184
Larsen Bay | Larsen Bay | Hydro | run-of-river | 475 | 773021
Mekoryuk |  | Wind |  | 200 | 480048
Metlakatla | Chester Lake | Hydro | lake tap | 1100 | 4960915
Metlakatla | Purple Lake | Hydro | lake tap | 3900 | 16075775
Nikolski |  | Wind |  | 65 | 204984
Nome | Banner Peak | Wind |  | 2970 | 5960707
Ouzinkie | Mahoona Lake | Hydro | storage | 125 | 167000
Pelican | Pelican | Hydro | run-of-river | 650 | 799494
Perryville |  | Wind |  | 24 | 31536
Port Armstrong Hatchery | Jetty Lake (West Side Hydro) | Hydro | (blank) | 249 | 0
Port Bailey Cannery | Dry Spruce Creek | Hydro | (blank) | 75 | 0
Prince of Wales | Black Bear Lake | Hydro | storage | 4500 | 20600350
Prince of Wales | South Fork Black Bear | Hydro | run-of-river | 2000 | 5739704
Prince of Wales | Híilangaay (Reynolds Creek) Hydro | Hydro | storage | 4775 | 25250000
Quinhagak |  | Wind |  | 300 | 620208
Railbelt | AWWU Conduit | Hydro | conduit | 750 | 0
Railbelt | Bradley Lake | Hydro | lake tap | 120000 | 380000000
Railbelt | Cooper Lake | Hydro | diversion | 0 | 6020000
Railbelt |  | Hydro | lake tap | 19200 | 42000000
Railbelt | Eklutna | Hydro | storage | 40000 | 172076600
Railbelt | Marathon Hydro | Hydro | run-of-river | 160 | 876000
Railbelt | McRoberts Creek | Hydro | run-of-river | 125 | 386567
Railbelt | South Fork Hydro (Eagle River) | Hydro | run-of-river | 1200 | 3724910
Railbelt | Delta Junction | Wind |  | 1000 | 2076120
Railbelt | Eva Creek | Wind |  | 24600 | 73268640
Railbelt | Fire Island | Wind |  | 17600 | 47794560
Saint Paul | TDX | Wind |  | 225 | 696748.5
Sand Point | AWE | Wind |  | 1000 | 1408608
Savoonga |  | Wind |  | 200 | 579912
Selawik |  | Wind |  | 260 | 296088
Shaktoolik |  | Wind |  | 200 | 411720
Sitka | Blue Lake | Hydro | lake tap/storage | 15645 | 100200000
Sitka | Green Lake | Hydro | storage | 18600 | 63800000
Tenakee Springs | Indian River | Hydro | run-of-river | 180 | 1169000
Tin City |  | Wind |  | 225
Toksook Bay |  | Wind |  | 400 | 219000
Tuntutuliak |  | Wind |  | 475 | 865488
Unalakleet |  | Wind |  | 600 | 1093248
Wales |  | Wind |  | 130 | 398580
Wrangell/Petersburg/Ketchikan | Beaver Falls | Hydro | run-of-river/lake tap | 5200 | 44675500
Wrangell/Petersburg/Ketchikan | Blind Slough (Crystal Lake) | Hydro | storage | 2000 | 982000
Wrangell/Petersburg/Ketchikan | Ketchikan Lakes | Hydro | lake tap | 4200 | 23025300
Wrangell/Petersburg/Ketchikan | Silvis Lakes | Hydro | lake tap | 2100 | 12461600
Wrangell/Petersburg/Ketchikan | Swan Lake | Hydro | storage | 22500 | 76000000
Wrangell/Petersburg/Ketchikan | Tyee | Hydro | lake tap | 22500 | 125000000
Wrangell/Petersburg/Ketchikan | Whitman Lake | Hydro | storage | 4600 | 16000000

## Hydro Capacity for model
Communities | Project Name | Resource Type | Resource Sub-Type | Capacity (kW) | Average Annual Generation (kWh)
Akutan | Town Creek | Hydro | run-of-river | 105 | 312652
Atka | Chuniisax Creek | Hydro | run-of-river | 284 | 443142
Chignik Bay | Chignik | Hydro | storage | 60 | 300000
Chignik Lagoon | Packers Creek | Hydro | run-of-river | 167 | 521200
Cordova | Humpback Creek | Hydro | run-of-river | 1250 | 3553542
Cordova | Power Creek | Hydro | run-of-river | 6000 | 15929397
Glennallen-Valdez | Allison Creek | Hydro | run-of-river | 6500 | 15056617
Glennallen-Valdez | Solomon Gulch | Hydro | storage | 12000 | 45000000
Gustavus | Falls Creek | Hydro | run-of-river | 800 | 1939011
Haines/Skagway | 10 Mile Creek | Hydro | run-of-river | 600 | 1000000
Haines/Skagway | Dewey Lakes | Hydro | run-of-river | 943 | 3137760
Haines/Skagway | Goat Lake | Hydro | storage | 4000 | 15617000
Haines/Skagway | Kasidaya Creek | Hydro | run-of-river | 3000 | 7446440
Haines/Skagway | Lutak | Hydro | run-of-river | 285 | 164432
Hoonah | Gartina Falls | Hydro | run-of-river | 450 | 1810000
Iliamna | Tazimina | Hydro | run-of-river | 824 | 4048161
Juneau | Annex Creek | Hydro | lake tap | 4000 | 26000000
Juneau | Gold Creek | Hydro | run-of-river | 1600 | 4500000
Juneau | Lake Dorothy | Hydro | lake tap | 14300 | 75000000
Juneau | Salmon Creek | Hydro | storage | 8500 | 29500000
Juneau | Snettisham | Hydro | lake tap | 78200 | 295000000
King Cove | Delta Creek | Hydro | run-of-river | 800 | 1997981
Kodiak | Terror Lake | Hydro | lake tap | 34000 | 135000000
Larsen Bay | Larsen Bay | Hydro | run-of-river | 475 | 773021
Metlakatla | Chester Lake | Hydro | lake tap | 1100 | 4960915
Metlakatla | Purple Lake | Hydro | lake tap | 3900 | 16075775
Ouzinkie | Mahoona Lake | Hydro | storage | 125 | 167000
Pelican | Pelican | Hydro | run-of-river | 650 | 799494
Port Armstrong Hatchery | Jetty Lake (West Side Hydro) | Hydro | (blank) | 249 | 0
Port Bailey Cannery | Dry Spruce Creek | Hydro | (blank) | 75 | 0
Prince of Wales | Black Bear Lake | Hydro | storage | 4500 | 20600350
Prince of Wales | South Fork Black Bear | Hydro | run-of-river | 2000 | 5739704
Prince of Wales | Híilangaay (Reynolds Creek) Hydro | Hydro | storage | 4775 | 25250000
Railbelt | AWWU Conduit | Hydro | conduit | 750 | 0
Railbelt | Bradley Lake | Hydro | lake tap | 120000 | 380000000
Railbelt | Cooper Lake | Hydro | diversion | 0 | 6020000
Railbelt |  | Hydro | lake tap | 19200 | 42000000
Railbelt | Eklutna | Hydro | storage | 40000 | 172076600
Railbelt | Marathon Hydro | Hydro | run-of-river | 160 | 876000
Railbelt | McRoberts Creek | Hydro | run-of-river | 125 | 386567
Railbelt | South Fork Hydro (Eagle River) | Hydro | run-of-river | 1200 | 3724910
Sitka | Blue Lake | Hydro | lake tap/storage | 15645 | 100200000
Sitka | Green Lake | Hydro | storage | 18600 | 63800000
Tenakee Springs | Indian River | Hydro | run-of-river | 180 | 1169000
Wrangell/Petersburg/Ketchikan | Beaver Falls | Hydro | run-of-river/lake tap | 5200 | 44675500
Wrangell/Petersburg/Ketchikan | Blind Slough (Crystal Lake) | Hydro | storage | 2000 | 982000
Wrangell/Petersburg/Ketchikan | Ketchikan Lakes | Hydro | lake tap | 4200 | 23025300
Wrangell/Petersburg/Ketchikan | Silvis Lakes | Hydro | lake tap | 2100 | 12461600
Wrangell/Petersburg/Ketchikan | Swan Lake | Hydro | storage | 22500 | 76000000
Wrangell/Petersburg/Ketchikan | Tyee | Hydro | lake tap | 22500 | 125000000
Wrangell/Petersburg/Ketchikan | Whitman Lake | Hydro | storage | 4600 | 16000000

## Wind Capacity For Model
Location | Resource Type | Resource Sub-Type | KW Installed | Predicted Gross Production per Year (kWh) | Capacity Factor Used for Analysis | Wind Class
Chevak | Wind |  | 400 | 1103760 | 31.5% | 6
Delta Junction | Wind |  | 1000 | 2076120 | 21% | 3
Emmonak | Wind |  | 400 | 699206 | 19.9% | 2
Eva Creek | Wind |  | 24600 | 73268640 | 32.6% | 6
Fire Island | Wind |  | 17600 | 47794560 | 31% | 5
Gambell | Wind |  | 300 | 1103760 | 42% | 7
Hooper Bay | Wind |  | 300 | 814680 | 31% | 5
Kasigluk | Wind |  | 300 | 840960 | 32% | 6
Kodiak | Wind |  | 9000 | 26017200 | 33% | 6
Kokhanok | Wind |  | 180 | 531381.6 | 33.7% | 5
Kongiganak | Wind |  | 475 | 1019445 | 24.5% | 6
Kotzebue | Wind |  | 1800 | 4478112 | 28.4% | 4
Kwigillingok | Wind |  | 475 | 4173184 | 24.5% | 6
Mekoryuk | Wind |  | 200 | 480048 | 27.4% | 5
Nikolski | Wind |  | 65 | 204984 | 36% | 6
Nome | Wind |  | 2970 | 5960707 | 25.8% | 6
Perryville | Wind |  | 24 | 31536 | 15% | 2
Quinhagak | Wind |  | 300 | 620208 | 23.6% | 4
Saint Paul | Wind |  | 225 | 696748.5 | 35.35% | 7
Sand Point | Wind |  | 1000 | 1408608 | 26.8% | 4
Savoonga | Wind |  | 200 | 579912 | 33.1% | 5
Selawik | Wind |  | 260 | 296088 | 13% | 2
Shaktoolik | Wind |  | 200 | 411720 | 23.5% | 4
Tin City | Wind |  | 225 |  |  | 7
Toksook Bay | Wind |  | 400 | 219000 | 25% | 6
Tuntutuliak | Wind |  | 475 | 865488 | 20.8%
Unalakleet | Wind |  | 600 | 1093248 | 20.8% | 3
Wales | Wind |  | 130 | 398580 | 35% | 7

## Data
HYDROELECTRIC PROJECTS IN ALASKA
Phase | Year of Operation or Development Phase | Project Name | Name | Grid | Utility/Owner | Capacity (kW) | Average Annual Generation (MWh) | Type | FERC No | Service Area | Total Project Cost | Cost Year | Source | Feasibility Study | Design Drawings | Map | Entity Type | Notes | Description
Operational | 2000 | 10 Mile Creek | 10 Mile Creek |  | IPEC | 600 | 1000 | run-of-river |  | Haines/Skagway | [6 empty] | Utility
Operational | 1915 | Annex Creek | Annex Creek |  | AELP | 4000 | 26000 | lake tap |  | Juneau | [6 empty] | Utility |  | This 3.6 megawatt (MW) project, operated by Alaska Electric Light and Power, was originally developed in 1915 by the Gastineau Alaska Engineers. It was automated in 1977 and currently provides about 10 percent of the City and Borough of Juneau’s electrical power needs.
Operational | 1988 | AWWU Conduit | AWWU Conduit |  | AWWU | 750 |  | conduit |  | Railbelt | [6 empty] | Municipality
Operational | 1947 | Beaver Falls | Beaver Falls |  | KPU | 5200 | 44675.5 | run-of-river/lake tap | P-1922 | Wrangell/Petersburg/Ketchikan | [8 empty] | This 5.4 MW facility is owned and operated by Ketchikan Public Utilities and provides power to the City of Ketchikan. It consists of three separate generators built between 1947 and 1954.
Operational | 1995 | Black Bear Lake | Black Bear Lake |  | AP&T | 4500 | 20600.35 | storage | P-10440 | Prince of Wales | [8 empty] | The Black Bear Lake Hydro project is a 4.5 MW hydroelectric project at Black Bear Lake on Prince of Wales Island, approximately 15 miles northeast of Klawock. It supplies power to the communities of Prince of Wales Island and was the first hydro project in Alaska to be certified as low impact by the Low Impact Hydropower Institute. Black Bear Lake was completed in 1995 and cost $10 million to permit and construct.
Operational | 1925 | Blind Slough (Crystal Lake) | Blind Slough (Crystal Lake) |  | Petersburg | 2000 | 982 | storage | P-201 | Wrangell/Petersburg/Ketchikan | [8 empty] | Blind Slough is a 2 MW project that has been supplying the City of Petersburg with electrical power since the 1920s. The project is located on Crystal Lake on Mitkof Island approximately 16.5 highway miles south of the City of Petersburg. Water used for generation is either used directly by the Crystal Lake Fish Hatchery or is returned to Crystal Creek, which eventually enters Blind Slough. It provides about 20 percent of the electricity for Petersburg Municipal Light and Power.
Operational | 1958 | Blue Lake | Blue Lake |  | Sitka | 7540 | 54800 | lake tap/storage | P-2230 | Sitka | [8 empty] | The City of Sitka owns and operates this 6 MW project on Sawmill Creek, which went into operation in 1961. It currently provides about 20 percent of electrical demand to the City of Sitka.
Operational | 2014 | Blue Lake | Blue Lake Expansion |  | Sitka | 6660 | 37700 | lake tap/storage | P-2230 | Sitka | [8 empty] | Sitka recently received three separate State of Alaska legislative grants totaling $49 million to increase the dam height and replace the powerhouse and a fish valve unit, increasing generating capacity to 16.9 MW. The expansion is under construction.
Operational | 2014 | Blue Lake | Blue Lake Fish Valve Unit |  | Sitka | 1445 | 7700 | lake tap/storage | P-2230 | Sitka
Operational | 1991 | Bradley Lake | Bradley Lake |  | AEA | 120000 | 380000 | lake tap | P-8221 | Railbelt | [8 empty] | Bradley Lake, a 120 MW hydroelectric project, is 27 miles southeast of Homer and serves the Railbelt from Homer to Fairbanks. Bradley Lake which was constructed and is owned, by the Alaska Energy Authority (AEA), went into commercial operation in 1991 and is operated by the Homer Electric Association. The project is an impoundment hydroelectric facility with a 125-foot high dam and a 3.5-mile power tunnel. It cost more than $300 million ($479 million in 2007 dollars).
Operational |  | Burnett River Hatchery | Burnett River Hatchery |  | SSRAA | 80 |  |  | P-10773 | Burnett Inlet Hatchery
Operational | 1987 | Chester Lake | Chester Lake |  | Metlakatla | 1100 | 4960.915 | lake tap |  | Metlakatla | [8 empty] | This 1 MW project is owned by Metlakatla Power and Light and provides electricity to the Southeast village of Metlakatla.
Operational | 1949 | Chignik | Chignik |  | Chignik Bay | 60 | 300 | storage | P-620 | Chignik Bay
Operational | 2012 | Chuniisax Creek | Chuniisax Creek |  | Atka | 284 | 443.142 | run-of-river |  | Atka
Operational | 1960 | Cooper Lake | Cooper Lake |  | CEA | 19200 | 42000 | lake tap | P-2170 | Railbelt | [8 empty] | Homer Electric Association owns and operates this 16.7 MW facility on Cooper Lake, Cooper Creek and Kenai Lake near the community of Cooper Landing. It began operation in 1960 and was relicensed by the FERC in 2007.
Operational | 2015 | Cooper Lake | Cooper Lake, Stetson Creek Diversion |  | CEA | 0 | 6020 | diversion |  | Railbelt | [8 empty] | As part of the settlement agreement reached during relicensing, Stetson Creek will be diverted to Cooper Lake, increasing annual energy generation by 5,500 MWh. The diversion will also increase the anadromous fish habitat quality in the upper reaches of Cooper Creek.
Operational | 1995 | Delta Creek | Delta Creek |  | King Cove | 800 | 1997.981 | run-of-river |  | King Cove | [8 empty] | This 800 kW project supplies 100 percent of the Aleutian community of King Cove’s electrical needs and lowers the cost of electricity to $0.24 / kWh, the lowest, single-site cost of power among all 160+ communities in the State of Alaska’s Power Cost Equalization program.
Operational | early 1900's | Dewey Lakes | Dewey Lakes |  | AP&T | 943 | 3137.76 | run-of-river | P-1051 | Haines/Skagway | [8 empty] | The 943 kW run-of-the-river Dewey Lakes Hydro Project is located adjacent to downtown Skagway. This project was built in the early 1900s and has been operated by Alaska Power & Telephone since 1957.
Operational |  | Dry Spruce Creek | Dry Spruce Creek |  | PB Energy, Inc | 75 |  |  | P-1432 | Port Bailey Cannery
Operational | 1955 | Eklutna | Eklutna |  | CEA/MEA/MLP | 40000 | 172076.6 | storage |  | Railbelt | [8 empty] | The Elkutna hydroelectric facility, brought online by the federal government in 1955, produces 30 MW of generation capacity. It is currently operated by Anchorage Municipal Light & Power and is the cheapest energy source connected to the Railbelt energy grid.
Operational | 2009 | Falls Creek | Falls Creek |  | AP&T | 800 | 1939.011 | run-of-river | P-11659 | Gustavus | [8 empty] | This project built by Gustavus Electric Company was completed in July 2009 and provides Gustavus with .8MW of power.
Operational | 2015 | Gartina Falls | Gartina Falls |  | IPEC | 450 | 1810 | run-of-river | P-14066 | Hoonah | [8 empty] | The 455 kW run-of-river project, now under construction, would offset approximately 30 percent of the diesel generation for the City of Hoonah. It includes a small diversion-dam and intake structure at the head of Gartina Falls and a steel penstock and powerhouse at the base of the falls.
Operational | 1997 | Goat Lake | Goat Lake |  | AP&T | 4000 | 15617 | storage | P-11077 | Haines/Skagway | [8 empty] | The Goat Lake hydroelectric facility is a storage project with a 4 MW capacity that started operations in 1997. The Lake is used as a reservoir without any dam. It was certified as a Low Impact Hydropower project by the Low Impact Hydropower Institute in 2007. Alaska Power & Telephone operates the Goat Lake facility, which provides power to Skagway and Haines.
Operational | 1914 | Gold Creek | Gold Creek |  | AELP | 1600 | 4500 | run-of-river |  | Juneau | [8 empty] | Gold Creek Hydropower, currently operated by Alaska Electric Light and Power, is a 1.6 MW run-of-the-river project that was originally constructed in 1914 with 800 kW generating capacity. An additional 800 kW of generating capacity was incorporated in the 1950s. This project, located in downtown Juneau, produces power seasonally with peak production around May.
Operational | 1979 | Green Lake | Green Lake |  | Sitka | 18600 | 63800 | storage | P-2818 | Sitka | [8 empty] | This 18.6 MW hydroelectric facility is owned and operated by the City and Borough of Sitka and provides the majority of electric power to Sitka and surrounding areas. It began operation in 1979.
Operational | 2010 | Humpback Creek | Humpback Creek |  | CEC | 1250 | 3553.542 | run-of-river | P-8889 | Cordova | [8 empty] | This is a 1.3 MW run-of-the-river project roughly 7 miles north of the Cordova boat harbor. It is owned and operated by Cordova Electric Cooperative and was commissioned in 1990. Cordova Electric Cooperative received $8 million from AEA’s Renewable Energy Fund and the intake structure was replaced after a significant high-flow event in 2011, using funds provided by FEMA.
Operational |  | Jetty Lake (West Side Hydro) | Jetty Lake (West Side Hydro) |  | Armstrong-Keta Inc. | 249 |  |  | P-3017 | Port Armstrong Hatchery
Operational | 2008 | Kasidaya Creek | Kasidaya Creek |  | AP&T | 3000 | 7446.44 | run-of-river | P-11588 | Haines/Skagway | [8 empty] | This project between Haines and Skagway was constructed by Alaska Power & Telephone Company, and generates between 300 Kw and 3 MW, depending on the season.
Operational | 1903 | Ketchikan Lakes | Ketchikan Lakes |  | KPU | 4200 | 23025.3 | lake tap | P-420 | Wrangell/Petersburg/Ketchikan | [8 empty] | This 4.2 MW project consists of three generators built between 1923 and 1957. It is owned and operated by Ketchikan Public Utilities and provides power to the City of Ketchikan.
Operational | 2010 | Lake Dorothy | Lake Dorothy (phase 1) |  | AELP | 14300 | 75000 | lake tap | P-12379 | Juneau | [8 empty] | This 14.3 MW project, located near the Snettisham hydroelectric facilities near Juneau, increased the power supply to Juneau by 20 percent when it went online in 2009. The hydro project also provides power to Princess Cruise Lines and Greens Creek Mining Company.
Operational | 1991 | Larsen Bay | Larsen Bay |  | Larsen Bay | 475 | 773.021 | run-of-river |  | Larsen Bay | [8 empty] | This 475 kW project provides electricity and city water for the rural community of Larsen Bay and a fish processing plant on Kodiak Island. It went into commercial operation in 1991 and was upgraded in January 2009.
Operational | purch. 2002 | Lutak | Lutak |  | AP&T | 285 | 164.432 | run-of-river |  | Haines/Skagway | [8 empty] | This 285 kW run-of-river project provides power to the Haines-Skagway region. It began operation in 2002.
Operational | 1987 | Mahoona Lake | Mahoona Lake |  | Ouzinkie | 125 | 167 | storage |  | Ouzinkie
Operational | Nonoperational | Marathon Hydro | Marathon Hydro |  | City of Seward | 160 | 876 | run-of-river |  | Railbelt
Operational | 1991 | McRoberts Creek | McRoberts Creek |  | Enerdyne | 125 | 386.567 | run-of-river |  | Railbelt
Operational | 2015 | Packers Creek | Packers Creek |  | Chignik Lagoon | 167 | 521.2 | run-of-river |  | Chignik Lagoon | [8 empty] | Packers Creek is 177 kW run-of-river project located near Chignik Lagoon.
Operational | 1988 | Pelican | Pelican |  | Pelican | 650 | 799.494 | run-of-river | P-10198 | Pelican | [8 empty] | This 700 kW hydroelectric facility provides electricity to the Southeast town of Pelican. It began operation in 1988 and was awarded a $2,274,000 grant for upgrades by the AEA’s Alaska Renewable Energy Fund in 2008.
Operational | 1997 | Power Creek | Power Creek |  | CEC | 6000 | 15929.397 | run-of-river | P-11243 | Cordova | [8 empty] | The Power Creek hydroelectric plant is located 7 miles east of Cordova and has a total installed generating capacity of 6 MW. It is owned by the Cordova Electric Cooperative and provides about 50 percent of electrical power to the town of Cordova and surrounding areas. It was commissioned in 1997.
Operational | 1955 | Purple Lake | Purple Lake |  | Metlakatla | 3900 | 16075.775 | lake tap |  | Metlakatla | [8 empty] | This 3.9 MW project is owned by Metlakatla Light and Power and provides electricity to the city of Metlakatla.
Operational | 1914 | Salmon Creek | Salmon Creek |  | AELP | 8500 | 29500 | storage | P-2307 | Juneau | [8 empty] | The current 6.7 MW impoundment project at Salmon Creek was built in 1984 and is operated by Alaska Electric Light & Power. The lower powerhouse, which remains in operation today, provides more than 10 percent of the electric energy demand to Juneau and its surroundings. A power facility has existed at the site since 1913, with significant upgrades and repairs in 1935 and 1967. The upper powerhouse, rebuilt in 1935 after the original was destroyed by fire, was taken out of commission in 1998.
Operational | 1975 | Silvis Lakes | Silvis Lakes |  | KPU | 2100 | 12461.6 | lake tap |  | Wrangell/Petersburg/Ketchikan | [8 empty] | The Silvis Lake Power Plant is a 2.1 MW project built in 1968 by Ketchikan Public Utilities to provide power to the City of Ketchikan.
Operational | 1973/1990 | Snettisham | Snettisham |  | AELP | 78200 | 295000 | lake tap |  | Juneau | [8 empty] | This 78 MW hydroelectric facility is the largest in Southeast Alaska, providing 80 percent of the power used by Juneau and Douglas. It was built by the U.S. Corps of Engineers in 1979 and sold to the State of Alaska in 1998. It is currently operated by Alaska Electric Light and Power under a contract with the Alaska Industrial Development and Export Authority (AIDEA). A 44-mile transmission line runs between the dams and Juneau.
Operational | 1981 | Solomon Gulch | Solomon Gulch |  | CVEA | 12000 | 45000 | storage |  | Glennallen-Valdez | [8 empty] | The Solomon Gulch Hydroelectric Project is a 12 MW facility serving Valdez and Glennallen. The project began commercial operation on July 1, 1982. It is owned and is operated and maintained by the Copper Valley Electric Association (CVEA).
Operational | 2005 | South Fork Black Bear | South Fork Black Bear |  | AP&T | 2000 | 5739.704 | run-of-river |  | Prince of Wales | [8 empty] | This 2 MW run-of-the-river hydroelectric project was constructed in 2004-2005 to supplement the 4.5 MW Black Bear Lake project, providing a back-up supply of electricity for the communities of Prince of Wales Island. The project was completed by Alaska Power & Telephone, with grant/loan assistance from the Denali Commission and the Alaska Energy Authority.
Operational | 2013 | South Fork Hydro (Eagle River) | South Fork Hydro (Eagle River) |  | South Fork Hydro | 1200 | 3724.91 | run-of-river |  | Railbelt | [8 empty] | The Southfork Hydroelectric Project is a 1 MW project located in the south fork of Eagle River that is privately owned and sells power to Matanuska Electric Association (MEA).
Operational | 1984 | Swan Lake | Swan Lake |  | SEAPA | 22500 | 76000 | storage |  | Wrangell/Petersburg/Ketchikan | [8 empty] | This 22.4 MW remote (accessible only by boat or plane) facility is connected to the Ketchikan Public Utilities system via a 30-mile transmission line. It is operated by the Southeast Alaska Power Agency (SEAPA). It came online in 1983 and currently operates at near-full capacity.
Operational | 1998 | Tazimina | Tazimina |  | INNEC | 824 | 4048.161 | run-of-river |  | Iliamna | [8 empty] | The project, owned by Iliamna-Newhalen-Nondalton Electric Coopemtive (INNEC), has an installed capacity of 824 kW and is expandable to 1.5 MW. It is a run-of-the-river project that came online in 1998. It is located on the Tazimina River about 12 miles northeast of Iliamna Lake.
Operational | 1985 | Terror Lake | Terror Lake |  | KEA | 20000 | 135000 | lake tap | P-2743 | Kodiak | [8 empty] | The project is located approximately 25 miles southwest of the City of Kodiak, and it is accessible by float plane and boat only. The project was placed into service January 1985 and produces up to 20 MW for Kodiak City and surrounding areas. Kodiak Electric Association now generates 90 percent of its electricity with hydropower and windpower produced by turbines installed in 2009 on Pillar Mountain.
Operational | 2014 | Terror Lake | Terror Lake, Third Unit |  | KEA | 14000 | 0 | lake tap | P-2743 | Kodiak | [8 empty] | A third 10 MW unit is being added to the Terror Lake powerhouse to increase generation capacity.
Operational | 1993 | Town Creek | Town Creek |  | Akutan | 105 | 312.652 | run-of-river |  | Akutan | [8 empty] | This 100 kW run-of-river project provides power to the City of Akutan. It was constructed in 1990 and has recently undergone a renovation of its intake structures to increase annual energy.
Operational | 1984 | Tyee | Tyee |  | SEAPA | 22500 | 125000 | lake tap | P-3015 | Wrangell/Petersburg/Ketchikan | [8 empty] | The Tyee Lake Hydroelectric project is located in Southeast Alaska, approximately 40 miles southeast of the City of Wrangell. It generates up to 20 MW of electricity for the cities of Wrangell and Petersburg. It is interconnected with the Swan Hydroelectric project and the City of Ketchikan via the Swan-Tyee Intertie. Tyee Hydroelectric is owned by SEAPA.
Operational | 2014 | Whitman Lake | Whitman Lake |  | KPU | 4600 | 16000 | storage | P-11841 | Wrangell/Petersburg/Ketchikan | [8 empty] | The Whitman Lake Hydroelectric Project is located approximately four miles east of Ketchikan. Ketchikan Public Utilities is installing 4.6 MW of hydropower generating capacity at the existing Whitman Lake Dam to provide an additional source of clean renewable energy to the city of Ketchikan and the Borough area including Saxman Village
4-Construction |  | Allison Creek | Allison Creek |  | CVEA | 6500 | 15056.617 | run-of-river | P-13124 | Glennallen-Valdez | [8 empty] | Allison Creek is a 6.5 MW run-of-river project located near Solomon Gulch above the Alyeska Pipeline Terminal in Valdez. Copper Valley Electric Association is developing this project.
4-Construction |  | Híilangaay (Reynolds Creek) Hydro | Híilangaay (Reynolds Creek) Hydro |  | AP&T | 4775 | 25250 | storage | P-11480 | Prince of Wales Island | [7 empty] | The phonetic pronunciation for Híilangaay is (Heel Lung Eye) | This 5 MW project is being overseen by AEA and the Southeast Conference and will consist of construction a hydroelectric facility on Reynolds Creek on Prince of Wales Island along with the hydro facility, a 10.5-mile transmission line to connect into the existing island grid.
4-Construction |  | Indian River | Indian River |  | Tenakee Springs | 180 | 1169 | run-of-river |  | Tenakee Springs | [8 empty] | Indian River is a 180 kW run-of-river hydroelectric project located near Tenakee Springs. It is a FERC-exempt project located on lands in the Tongass National Forest.
3-Final Design |  | Bradley Lake | Bradley Lake, Battle Creek Diversion |  | AEA | 0 | 37000 | diversion |  | Railbelt | [8 empty] | The Battle Creek diversion project is currently in Federal Energy Regulatory Commission (FERC) licensing and will increase the annual energy of Bradley Lake by 36,000 to 42,000 megawatt hours (MWh) annually.
3-Final Design |  | Chenega Bay (Anderson Creek) | Chenega Bay (Anderson Creek) |  | Chenega Corporation | 61 | 370 | run-of-river |  | Chenega
3-Final Design |  | Crooked Creek/Jim's Lake | Crooked Creek/Jim's Lake |  | Elfin Cove Utility Commission | 140 | 614 | run-of-river/storage |  | Elfin Cove
3-Final Design |  | Fishhook | Fishhook |  | Fishhook Renewable Energy LLC | 2000 | 7429 | run-of-river |  | Railbelt
3-Final Design |  | Fivemile Creek | Fivemile Creek |  | Chitina Electric | 300 | 2000 | run-of-river |  | Chitina | [8 empty] | The Fivemile Creek project is located near Chitina. It is a high-head 400 kW site, currently in licensing.
3-Final Design |  | Knutson Creek | Knutson Creek |  | Pedro Bay | 150 | 174.1 | run-of-river |  | Pedro Bay
3-Final Design |  | Mahoney Lake | Mahoney Lake |  | City of Saxman | 9600 | 46000 | storage | P-11393 | Wrangell/Petersburg/Ketchikan | [8 empty] | The proposed 9.6 MW project will be located in Southeast Alaska approximately five air miles northeast of the city of Ketchikan. The FERC licensing process was completed in 1998.
3-Final Design |  | Swan Lake | Swan Lake Expansion |  | SEAPA | 0 | 7500 | (see above) |  | Wrangell/Petersburg/Ketchikan
3-Final Design |  | Waterfall Creek | Waterfall Creek |  | King Cove | 350 | 1167 | run-of-river | P-2742 | King Cove | [8 empty] | This FERC-exempt hydroelectric project, located near King Cove, will supplement the Delta Creek Hydroelectric project and share the powerhouse and existing transmission line.
3-Final Design |  | Yerrick Creek | Yerrick Creek |  | Native Village of Tanacross | 1500 | 3440 | run-of-river | P-2911 | Glennallen-Valdez
2-Feasibility |  | Chignik | Chignik Existing Project Demolition |  | Chignik Bay | -60 | -300 | storage | P-620 | Chignik Bay
2-Feasibility |  | Chignik | Chignik Reconstruction/Expansion |  | Chignik Bay | 385 | 2140 | storeage | P-620 | Chignik Bay
2-Feasibility |  | Cordova | Crater Lake |  | CEC | 500 | 2250 | storage |  | Cordova
2-Feasibility |  | Fourth of July Creek | Fourth of July Creek |  | Chugach Electric | 12700 | 55000 | run-of-river | P-14630 | Seward
2-Feasibility |  | Grant Lake/Falls Creek | Grant Lake/Falls Creek |  | Kenai Hydro, LLC | 5000 | 19700 | run-of-river |  | Railbelt
2-Feasibility |  | Gunnuk Creek | Gunnuk Creek |  | IPEC | 500 | 1620 | storage |  | Kake
2-Feasibility |  | Kogoluktuk River | Kogoluktuk River |  | AVEC | 690 | 5410 | run-of-river |  | Ambler, Shungnak, Kobuk, and Kiana
2-Feasibility |  | Old Harbor | Old Harbor |  | AVEC | 262 | 2300 | run-of-river |  | Old Harbor
2-Feasibility |  | Scammon Bay | Scammon Bay |  | Scammon Bay | 188 | 756 | run-of-river |  | Scammon Bay
2-Feasibility |  | Susitna-Watana | Susitna-Watana |  | AEA | 600000 | 2800000 | storage |  | Railbelt
2-Feasibility |  | Sweetheart Lake | Sweetheart Lake |  | Juneau Hydropower, Inc. | 19800 | 136000 | storage |  | Juneau
2-Feasibility |  | Takatz Lake | Takatz Lake |  | Sitka | 27600 | 106900 | storage |  | Sitka
2-Feasibility |  | Tazimina | Tazimina Expansion |  | INNEC | 676 | 2000 | run-of-river |  | Iliamna, Newhalen, Nondalton
2-Feasibility |  | Terror Lake | Terror Lake, Hidden Basin |  | KEA | 0 | 33000 | run-of-river |  | Kodiak
2-Feasibility |  | Thayer Lake | Thayer Lake |  | Kootznoowoo Inc. | 1000 | 8500 | run-of-river |  | Angoon | [8 empty] | Thayer Lake is a 1+ MW run-of-river project on Admiralty Island that will serve the Village of Angoon.
1-Recon |  | Chignik Lake | Bear Creek |  |  | 100 | 788 | run-of-river
1-Recon |  | Chignik Lake | Landing Creek |  |  | 83 | 545 | run-of-river
1-Recon |  | Chikuminuk Lake | Allen River |  | AVEC | 22000 | 78100 | storage |  | Bethel/Dillingham
1-Recon |  | Clearwater Creek | Clearwater Creek |  | Native Village of Tanacross | 1000 | 3400 | run-of-river |  | Glennallen-Valdez
1-Recon |  | Connelly Lake | Connelly Lake |  |  | 8000 | 43200 | storage |  | Haines/Skagway
1-Recon |  | Excursion Inlet | Excursion Inlet | [6 empty] | Excursion Inlet
1-Recon |  | False Pass | False Pass |  |  | 125 | 936 | run-of-river |  | False Pass
1-Recon |  | Loud Creek | Loud Creek | [6 empty] | Akutan
1-Recon |  | Neck Lake | Neck Lake
1-Recon |  | Tiekel River | Tiekel River |  | CVEA | 50000 | 204000 | storage |  | Glennallen-Valdez
1-Recon |  | Triangle Lake | Triangle Lake |  | Metlakatla | 4000 | 17324 | storage |  | Metlakatla
Note on I2: Terry Gryting: run-of-river, artificial storage, or lake tap?
Note on H5: Terry Gryting: unknown
Note on B37: Terry Gryting: MEA reported purchases starting in 1991; unknown what year became operational

## Project Totals
Phase | Operational
Row Labels | Sum of Capacity (kW) | Sum of Average Annual Generation (MWh)
10 Mile Creek | 600 | 1000
Annex Creek | 4000 | 26000
AWWU Conduit | 750
Beaver Falls | 5200 | 44675.5
Black Bear Lake | 4500 | 20600.35
Blind Slough (Crystal Lake) | 2000 | 982
Blue Lake | 15645 | 100200
Bradley Lake | 120000 | 380000
Burnett River Hatchery | 80
Chester Lake | 1100 | 4960.915
Chignik | 60 | 300
Chuniisax Creek | 284 | 443.142
Cooper Lake | 19200 | 48020
Delta Creek | 800 | 1997.981
Dewey Lakes | 943 | 3137.76
Dry Spruce Creek | 75
Eklutna | 40000 | 172076.6
Falls Creek | 800 | 1939.011
Gartina Falls | 450 | 1810
Goat Lake | 4000 | 15617
Gold Creek | 1600 | 4500
Green Lake | 18600 | 63800
Humpback Creek | 1250 | 3553.542
Jetty Lake (West Side Hydro) | 249
Kasidaya Creek | 3000 | 7446.44
Ketchikan Lakes | 4200 | 23025.3
Lake Dorothy | 14300 | 75000
Larsen Bay | 475 | 773.021
Lutak | 285 | 164.432
Mahoona Lake | 125 | 167
Marathon Hydro | 160 | 876
McRoberts Creek | 125 | 386.567
Packers Creek | 167 | 521.2
Pelican | 650 | 799.494
Power Creek | 6000 | 15929.397
Purple Lake | 3900 | 16075.775
Salmon Creek | 8500 | 29500
Silvis Lakes | 2100 | 12461.6
Snettisham | 78200 | 295000
Solomon Gulch | 12000 | 45000
South Fork Black Bear | 2000 | 5739.704
South Fork Hydro (Eagle River) | 1200 | 3724.91
Swan Lake | 22500 | 76000
Tazimina | 824 | 4048.161
Terror Lake | 34000 | 135000
Town Creek | 105 | 312.652
Tyee | 22500 | 125000
Whitman Lake | 4600 | 16000
Grand Total | 464102 | 1784565.454

## Service Area Totals
Row Labels | Sum of Capacity (kW) | Sum of Average Annual Generation (MWh)
1-Recon | 85308 | 348293
Akutan
Excursion Inlet
False Pass | 125 | 936
Glennallen-Valdez | 51000 | 207400
Haines/Skagway | 8000 | 43200
Metlakatla | 4000 | 17324
(blank) | 183 | 1333
Bethel/Dillingham | 22000 | 78100
2-Feasibility | 669241 | 3175276
Ambler, Shungnak, Kobuk, and Kiana | 690 | 5410
Angoon | 1000 | 8500
Chignik Bay | 325 | 1840
Cordova | 500 | 2250
Iliamna, Newhalen, Nondalton | 676 | 2000
Juneau | 19800 | 136000
Kake | 500 | 1620
Kodiak | 0 | 33000
Old Harbor | 262 | 2300
Railbelt | 605000 | 2819700
Scammon Bay | 188 | 756
Seward | 12700 | 55000
Sitka | 27600 | 106900
3-Final Design | 14101 | 105694.1
Chenega | 61 | 370
Chitina | 300 | 2000
Elfin Cove | 140 | 614
Glennallen-Valdez | 1500 | 3440
King Cove | 350 | 1167
Pedro Bay | 150 | 174.1
Railbelt | 2000 | 44429
Wrangell/Petersburg/Ketchikan | 9600 | 53500
4-Construction | 11455 | 41475.617
Glennallen-Valdez | 6500 | 15056.617
Prince of Wales Island | 4775 | 25250
Tenakee Springs | 180 | 1169
Operational | 464102 | 1784565.454
Akutan | 105 | 312.652
Atka | 284 | 443.142
Burnett Inlet Hatchery | 80
Chignik Bay | 60 | 300
Chignik Lagoon | 167 | 521.2
Cordova | 7250 | 19482.939
Glennallen-Valdez | 12000 | 45000
Gustavus | 800 | 1939.011
Haines/Skagway | 8828 | 27365.632
Hoonah | 450 | 1810
Iliamna | 824 | 4048.161
Juneau | 106600 | 430000
King Cove | 800 | 1997.981
Kodiak | 34000 | 135000
Larsen Bay | 475 | 773.021
Metlakatla | 5000 | 21036.69
Ouzinkie | 125 | 167
Pelican | 650 | 799.494
Port Armstrong Hatchery | 249
Port Bailey Cannery | 75
Prince of Wales | 6500 | 26340.054
Railbelt | 181435 | 605084.077
Sitka | 34245 | 164000
Wrangell/Petersburg/Ketchikan | 63100 | 298144.4
Grand Total | 1244207 | 5455304.171

## Summary
Phase | Number | Capacity (MW) | Energy (MWh)
Operational | 52 | 464.102 | 1784.5655
4-Construction | 3 | 11.455 | 41.4756
3-Final Design | 10 | 14.101 | 105.6941
2-Feasibility | 15 | 669.241 | 3175.276
Total | 80 | 1158.899 | 5107.0112