## Sheet1
Application Number | Project Type | Community/Intertie Served | Project Name | Operational? (1=Yes/ 0=No) | Continuing to Operation? (1=Yes/ 0=No) | Wind Class | Assumed Capacity Factor | Phase | Proposed Capacity (kW) | Proposed Generation (kWh) | Distance to Resource (ft) | Generation Capital Cost | Transmission CAPEX | Total Cost | Operational Costs / year | Lat/long | Data Source (report reference) | notes
669 | Wind | Akiachak | Akiachak Wind Feasibility & Conceptual Design | 0 | 0 | 3 |  | Feasibility | [7 empty] | 60.915821, -161.440464 | progress reports and wind tracking spreadsheet
212 | Wind | Akiachak | Akiachak Wind_ANCEC | 0 | 0 | 5 |  | Feasibility | 300 | 2628000 |  | 4250000 |  |  | 32830 | 60.917, -161.455 | H:\AEEE Shared Files\Wind\Renewable Energy Fund\Renewable Energy Fund Projects\Akiachak 669 7040057\Application
122 | Wind | Bethel | Bethel Wind Power Project Times 4 | 0 | 1 | 4 |  | Design | 100 | 916584 |  | 3197985 |  |  |  | 60.792808, -161.816982 | various files, main source of info was/is Wind Report H:\AEEE Shared Files\Wind\Renewable Energy Fund\Bethel | several concurrent grants, no CDR to be found. No cost breakdowns to individual tasks
67 | Wind | Bethel | Bethel Wind Farm Construction (BNC land) | 0 | 0 | 4 |  | Design | [6 empty] | 62000
604 | Wind | Bethel | Bethel Renewable Energy Project | 0 | 1 | 4 |  | Construction | 1000 | 3050000 |  | 4660750
56 | Wind | Buckland | Buckland/Deering/Noorvik Wind Farm Construction | 0 | 1 | 3 |  | Construction | 200 | 466826 | 26800 | 3365000 | 1000000 |  |  | 65.964132, -161.284185 | Buckland Draft CDR H:\AEEE Shared Files\Wind\_RStromberg Computer Dump\Buck Deer Noor\Buckland | grant covers three separate communities, Buckland CDR was used
1139 | Wind | Chefornak | Chefornak Wind Heat System | 0 | 0 | 6 |  | Feasibility | 475 | 988654 | 1000 | 3844000 | 800000 | 4644000 | 57000 | 60.158, -164.278 | H:\AEEE Shared Files\Wind\Renewable Energy Fund\Renewable Energy Fund Projects\Chefornak 650 7040056\CDR | CDR has gone through several drafts, so generation numbers have not been cemented
62 | Wind | Chignik Lake | Chignik Lake Area Wind-Hydro Final Design | 0 | 0 | 5 |  | Feasibility | 225 | 320000 | 0 | 1600000 | 200000 | 1800000 | 21000 | 56.294007, -158.556576 | wind tracking spreadsheet and WRA on H:/ H:\AEEE Shared Files\Wind\Renewable Energy Fund\Renewable Energy Fund Projects\Chignik Lake 62 #2195409 | feasiblity/recon only; no generation evaluations conducted
680 | Wind | Cold Bay | Cold Bay Wind Energy Project | 0 | 0 | 7 |  | Feasibility | 200 | 413000 | 8000 | 1940000 |  |  |  | 55.203, -162.708 | H:\AEEE Shared Files\Wind\Renewable Energy Fund\Renewable Energy Fund Projects\Cold Bay Wind Energy Project 680 #7040004\680_Cold Bay Wind Energy Project
66 | Wind | Delta Junction | Coal Mine Road Wind Farm Final Design | 0 | 0 |  |  | Feasibility | [8 empty] | H:\AEEE Shared Files\Wind\Renewable Energy Fund\Delta Juntion #2195370 | Data source might be different project, unsure as no record of "coal mine road wind farm" could be found
633 | Wind | Dillingham | Nushagak Community Wind Power Project | 0 | 0 | 3 |  | Feasibility
639 | Wind | Eek | Eek Wind Feasibility | 0 | 0 | 3 |  | Feasibility | 90 | 163000 |  | 900000 |  |  |  |  | H:\AEEE Shared Files\Wind\Renewable Energy Fund\Renewable Energy Fund Projects\Eek 639 #7040019\639_AVEC_Eek Wind Feasibility
912 | Wind | Egegik | Egegik Wind Feasibility Study | 0 | 0 | 4 |  | Feasibility | 95 | 233000 |  |  |  | 1390000 | 9700 |  | H:\AEEE Shared Files\Wind\Renewable Energy Fund\Renewable Energy Fund Projects\Egegik 7060912\Application
640 | Wind | Elim | Elim Wind Feasibility | 0 | 0 | 1 |  | Feasibility | 200 | 400000 | 1500 |  |  | 2150000 | 18400 |  | H:\AEEE Shared Files\Wind\Renewable Energy Fund\Renewable Energy Fund Projects\Elim 640 7040053\640_AVEC_Elim Wind Feasibility
1080 | Wind | False Pass | False Pass Wind Energy Project | 0 | 0 | 5 |  | Design | 50 | 21120 | 7800 |  |  | 2000000 | 1400 | 54.921, -163.425 | H:\AEEE Shared Files\Wind\Renewable Energy Fund\Renewable Energy Fund Projects\Egegik 7060912\Application
35 | Wind | Hooper Bay | Hooper Bay Wind Farm Construction | 0 | 0 | 6 |  | Feasibility | 120 | 539000 | 750 | 1900000 | 0 |  | 10700 | 61.535228, -166.096689 | Final Report/tech memo | feasibility only, proposed project would expand existing wind generation, or be used exclusively for water plant heating.
1072 | Wind | Igiugig | Igiugig Wind Resource Feasibility and Conceptual Design | 0 | 0 |  |  | Feasibility
1231 | Wind | Kaktovik | Kaktovik Wind Diesel Design | 0 | 0 | 5 |  | Feasibility | 675 | 1684000 | 5200 | 5000000 | 1500000 | 7500000 | 65000 |  | H:\AEEE Shared Files\Wind\Renewable Energy Fund\Renewable Energy Fund Projects\Kaktovik\CDR
666 | Wind | Kenai | Kenai Winds Expansion | 0 | 0 |  | 29.7 | Reconnaissance | 18000 | 46831000 | 0 |  |  | 46800000 |  | 60.6765, -151.378 | H:\AEEE Shared Files\Wind\Renewable Energy Fund\Renewable Energy Fund Projects\Nikiski - Kenai Winds
512 | Wind | Kivalina | Kivalina Wind-Intertie Feasibility Analysis & Conceptual Design | 0 | 0 | 7 |  | Feasibility | 300 | 900000 |  | 6000000 | 14000000 | 22193000 |  |  | H:\AEEE Shared Files\Wind\Renewable Energy Fund\Renewable Energy Fund Projects\Kivalina\512_Kivalina Wind-Intertie Feasibility Analysis & Conceptual_AVEC.pdf
966 | Wind | Kokhanok | High-penetration Wind Energy Project- Kokhanok | 0 | 1 | 6 |  | Construction | 180 | 430000 | 2000 |  |  | 2655000 |  |  | H:\AEEE Shared Files\Wind\Renewable Energy Fund\Renewable Energy Fund Projects\Kokhanok 7060966\Application
1079 | Wind | Koliganek | Koliganek Wind Diesel and Heat Recovery | 0 | 0 | 4 |  | Design | 240 | 328000 |  |  |  | 1100000 |  |  | H:\AEEE Shared Files\Wind\Renewable Energy Fund\Renewable Energy Fund Projects\Koliganek 684 7040011\CDR
642 | Wind | Koyuk | Koyuk Wind Phase II Feasibility | 0 | 0 | 3 |  | Feasibility | 200 | 350400 |  |  |  | 2150000 |  |  | H:\AEEE Shared Files\Wind\Renewable Energy Fund\Renewable Energy Fund Projects\Koyuk 7040052\642_AVEC_Koyuk Wind Phase II Feasibility
664 | Wind | Kwethluk | Kwethluk Wind Feasibility | 0 | 0 | 2 |  | Feasibility | 150 | 352000 |  |  |  | 1470000 | 31000 |  | H:\AEEE Shared Files\Wind\Renewable Energy Fund\Renewable Energy Fund Projects\Kwethluk 664 7040020\Application
911 | Wind | Levelock | Levelock Wind Reconnaissance Study | 0 | 0 | 3 |  | Reconnaissance | 95 | 164000 | 25000 |  |  | 1021000 |  |  | H:\AEEE Shared Files\Wind\Renewable Energy Fund\Renewable Energy Fund Projects\Levelock 7060911\Application
1066 | Wind | Marshall | Marshall Wind Energy Final Design and Permitting Project | 0 | 0 | 4 |  | Feasibility | 285 | 1011500 | 4200 | 3300000 |  |  |  | 61.885994, -162.049883 | H:\AEEE Shared Files\Wind\Renewable Energy Fund\Renewable Energy Fund Projects\Marshall 643 7040021\CDR
1067 | Wind | Mountain Village | Mountain Village Wind Feasibility and Conceptual Design | 0 | 0 | 5 |  | Feasibility | 450 | 1137000 |  |  |  | 4833000 | 55756 | 62.099953, -163.730771 | H:\AEEE Shared Files\Wind\Renewable Energy Fund\Renewable Energy Fund Projects\1067 Mountain Village Wind Feasibility & Conceptual Design | Grantee has not proposed any generation or construction
685 | Wind | Napaskiak | Napaskiak Wind, Power and Heat Recovery | 0 | 0 | 2 |  | Feasibility | 300 | 680000 |  |  |  | 3060000 | 34000 | 60.704361, -161.763889 | H:\AEEE Shared Files\Wind\Renewable Energy Fund\Renewable Energy Fund Projects\Napaskiak 685 7040016
969 | Wind | Nelson Lagoon | Nelson Lagoon Wind Energy Project | 0 | 0 | 7 |  | Feasibility | 200 | 660000 |  |  |  | 2050000 | 33000 | 55.204778, -162.714333 | H:\AEEE Shared Files\Wind\Renewable Energy Fund\Renewable Energy Fund Projects\Nelson Lagoon 679 7040006
515 | Wind | New Stuyahok | New Stuyahok Wind-Feasibility Analysis, Resources Assessment & Conceptual Design | 0 | 0 | 2 |  | Feasibility | 300 | 473000 | 700 |  |  | 4436000 |  | 59.456, -157.375 | wind tracking spreadsheet | WRA and CDR still in progress, not likely to advance due to siting issues
94 | Wind | Nikolaevsk | Nikolaevsk Wind Farm Final Design | 0 | 0
889 | Wind | Nikolski | Nikolski Renewable Energy Wind Project | 0 | 0 |  |  | Feasibility | 65 |  |  | 478512.24 |  |  |  |  | H:\AEEE Shared Files\Wind\_RStromberg Computer Dump\Nikolski | Insufficent loads in community, O&M costs very high
486 | Wind | Pilot Point | Pilot Point Wind Power & Heat | 0 | 1 | 4 |  | Feasibility | 100 | 290000 | 7250 | 545700 | 246540 | 792240 | 300760 | 57.589338, -157.502333 | 2011 CDR H:\AEEE Shared Files\Wind\Renewable Energy Fund\Pilot Point 486 #7030007 | the data source has been revised several times, the mentioned data source provides a solid benchmark. This Grant has experienced several revisions.
611 | Wind | Point Hope | Point Hope Wind Turbine Design | 0 | 0 | 6 |  | Design | 900 | 2420000 | 11000 | 2000000 | 720000 |  |  | 68.340, -166.645 | H:\AEEE Shared Files\Wind\_RStromberg Computer Dump\NSB\Point Lay\PT (1). LAY CDR | Grantee has not taken action to advance to construction phase
612 | Wind | Point Lay | Point Lay Wind Generation Design | 0 | 1 | 4 |  | Feasibility | 675 | 1503283 | 2000 | 1200000 | 10000 |  |  | 69.755, -163.005 | H:\AEEE Shared Files\Wind\Renewable Energy Fund\Point Lay\Point Lay 612 AND H:\AEEE Shared Files\Wind\_RStromberg Computer Dump\NSB\Point Lay | Steps have not been taken by Grantee to advance to construction phase
686 | Wind | Port Heiden | Port Heiden Wind Turbine Project | 0 | 0 | 5 |  | Design | 250 | 718800 | 750 | 650000 |  |  |  | 56..93111, -158.619889 | H:\AEEE Shared Files\Wind\Renewable Energy Fund\Renewable Energy Fund Projects\Port Heiden\Wind Feasibility Study\Port Heiden RPSU Final CDR_Complete.pdf
1115 | Wind | Saint Mary's | St. Mary's-Pitka's Point Wind Energy Construction Project | 0 | 0 | 6 |  | Design | 120 | 345100 | 8000 | 4440000 | 260000 |  | 42000 | 62.043, -163.243 | H:\AEEE Shared Files\Wind\Renewable Energy Fund\St. Mary's-Pitka's Point 645 #7040017\CDR | Project will likely advance alongside intertie project
646 | Wind | Scammon Bay | Scammon Bay Wind Feasibility | 0 | 0 | 5 |  | Feasibility | 200 | 462500 |  |  |  | 2150000 | 21691 | 61.834, -165.553 | H:\AEEE Shared Files\Wind\Renewable Energy Fund\Scammon Bay 646 #7040022 | Grantee has not proposed any generation or construction
1068 | Wind | Stebbins | Stebbins St Michael Wind Energy Final Design and Permitting | 0 | 0 | 6 |  | Design | 400 | 1106920 | 7000 | 4030000 |  |  |  | 63.506, -162.192 | H:\AEEE Shared Files\Wind\Renewable Energy Fund\Stebbins 648 #7040008\CDR\Round 7 CDR\Final | Final design and permitting is under way in a separate grant
506 | Wind | Tatitlek | Tatitlek High Penetration Wind-Diesel Project | 0 | 0 | 1 |  | Reconnaissance |  |  | 1500 | [5 empty] | H:\AEEE Shared Files\Wind\_RStromberg Computer Dump\Tatitlek | general renewable study points to wind generation not being feasible
513 | Wind | Teller | Teller Wind-Final Design, Permitting & Construction | 0 | 0 | 6 |  | Feasibility | 300 | 919800 | 13000 |  |  | 4436800 |  | 65.219210, -166.317336 | Navision L:\AwardVision-AV\RE-70\AV-2195464-PrgRpt-Dec2015.pdf | Grantee has not proposed any generation or construction
287 | Wind | Tok | Tok Wind Construction_VWP | 0 | 0 | 4 |  | Feasibility | [7 empty] | 63.2782, -143.1920 | H:\AEEE Shared Files\Wind\_RStromberg Computer Dump\Tok | Construction not proceeding due to long transmission distance requirements and siting uncertainty
1027 | Wind | Tok | Chisana Mountain Wind Feasibility Project | 0 | 0 | 4 |  | Feasibility
613 | Wind | Wainwright | Wainwright Wind Turbine Design | 0 | 1 | 4 |  | Feasibility | 720 | 1896500 | 7900 |  |  | 3857047 | 9000 | 70.653085, -159.979841 | H:\AEEE Shared Files\Wind\Renewable Energy Fund\Wainwright\Wainwright 613 | Grantee is choosing not to advance to construction phase
64 | Wind |  | Lake Pen Borough Wind Feasibility Study | 0 | 0 | 6 |  | Reconnaissance | 10 | [7 empty] | H:\AEEE Shared Files\Wind\Renewable Energy Fund\Renewable Energy Fund Projects\Lake and Pen 64 2195374