## Model Output
| Circulating/Gravity |  | Circulating/Vacuum |  | Haul |  | Pressure/Gravity |  | Washeteria/Honey Bucket
| kWh | Gal | kWh | Gal | kWh | Gal | kWh | Gal | kWh | Gal
HDD | 8.2118 | 0.6296 |  |  |  |  | 6.2895 | 0.59226 | 1.4606 | 0.65787
Population | 32.1504 | 1.3344 | 422.8917 | 21.6618 | 84.2367 | 13.7078 | 29.905 | 2.6992 | 51.7595 | -6.6588

## Communities
Community | Model Type | Population | HDD | SQFT | HF Used | HF w/Retro | kWh/yr | kWh/yr w/ retro | Implementation Cost | HR | Steam District | HR Installed (Yes, No) | Fuel Data Source | Electrical Data Source
Akiak | Circulating/Gravity | 389 | 13105 | 1280 | 711 | 601 | 98533 | 86541 | 18480 | 0 | 0 | Yes | ANTHC | ANTHC
Ambler | Circulating/Gravity | 258 | 15675 |  | 32400 |  | 151546 | [5 empty] | ARUC | City
ANAKTUVUK PASS | Circulating/Gravity | 324 | 18873 | 6373 | 0 | 0 | 260202.3418 | 0 | 0 | 0 | 0 | 0
Anvik | Circulating/Gravity | 85 | 13462 |  | 3817 |  | 11351 | [5 empty] | ARUC | AVEC
ATQASUK | Circulating/Gravity | 229 | 20370 | 12237 | 0 | 0 | 415863.7427 | 0 | 0 | 0 | 0 | 0
BETHEL | Circulating/Gravity | 6241 | 13334 | 35925 | 15192.654 | 0 | 340683.0661 | 0 | 0 | 0 | 0 | 0
Brevig Mission | Circulating/Gravity | 411 | 14138 | 2800 | 12811 | 2643 | 118202 | 89551 | 605160 | 0 | 0 | 0 | ANTHC | ANTHC
Chuathbaluk | Circulating/Gravity | 134 | 13356 | 971 | 2018 | 357 | 25982 | 24157 | 151210 | 0 | 0 | 0
Eek | Circulating/Gravity | 349 | 11548 | 2032 | 6965 | 5671 | 42891 | 33405 | 42000 | 0 | 0 | 0 | ANTHC | ANTHC
Elim | Circulating/Gravity | 350 | 13943 | 1854 | 9363 | 3139 | 78148 | 54777 | 144030 | 0 | 0 | 0 | ANTHC | ANTHC
Gambell | Circulating/Gravity | 713 | 14572 | 4664 | 16307 | 14262 | 107513 | 79008 | 8719 | 0 | 0 | 0
Golovin | Circulating/Gravity | 156 | 13943 |  | 16314 |  | 35621 | [5 empty] | ARUC | ARUC
Grayling | Circulating/Gravity | 191 | 14574 | 1536 | 6850 | 1747 | 91836 | 65099 | 397160 | 0 | 0 | 0
Holy Cross | Circulating/Gravity | 177 | 13462 | 704 | 5812 | 758 | 65948 | 56710 | 395681 | 0 | 0 | 0
Huslia | Circulating/Gravity | 338 | 14942 | 4215 | 6614 | 1093 | 96387.4189 | 46357 | 285680 | 0 | 0 | 0
Igiugig | Circulating/Gravity | 50 | 11306 |  | 486 |  | 15758 | [5 empty] | ARUC | ARUC
KAKTOVIK | Circulating/Gravity | 251 | 20370 | 11320 | 0 | 0 | 532062.7885 | 0 | 0 | 0 | 0 | 0
Kaltag | Circulating/Gravity | 190 | 14371 |  | 7845 |  | 6695 | [5 empty] | City | ARUC
Kiana | Circulating/Gravity | 363 | 15675 |  | 6985 |  | 122551 | [5 empty] | ARUC | ARUC
Kobuk | Circulating/Gravity | 151 | 15716 |  | 13904 |  | 97196 | [5 empty] | ARUC | AVEC
Koyuk | Circulating/Gravity | 321 | 13943 | 2753 | 13303 | 3378 | 90964 | 69040 | 476935 | 0 | 0 | 0
Lower Kalskag | Circulating/Gravity | 281 | 13382 | 1512 | 1946 | 179 | 71221 | 58232 | 13350 | 0 | 0 | 0 | ANTHC | ANTHC
Manokotak | Circulating/Gravity | 442 | 11306 |  | 3294 |  | 60606 | [5 empty] | City | ARUC
Marshall | Circulating/Gravity | 444 | 12785 | 1560 | 6000 | 1457 | 96843 | 75377 | 80355 | 0 | 0 | Yes | ANTHC | ANTHC
Mountain Village | Circulating/Gravity | 813 | 13448 |  | 10224 |  | 33372 | [5 empty] | ARUC | ARUC
Nenana | Circulating/Gravity | 378 | 14539 |  | 11363 |  | 205377 | [5 empty] | energy Audit | energy Audit
New Stuyahok | Circulating/Gravity | 510 | 11306 |  | 37180 |  | 55153 | [5 empty] | WTP Op | energy Audit
Newhalen | Circulating/Gravity | 190 | 11130 |  | 17236 |  | 34909 | [5 empty] | ARUC | AVEC
Noatak | Circulating/Gravity | 514 | 16758 |  | 878 |  | 131974 | [5 empty] | Village | City
NUIQSUT | Circulating/Gravity | 444 | 20370 | 7566 | 0 | 0 | 535641.8207 | 0 | 0 | 0 | 0 | 0
Nulato | Circulating/Gravity | 246 | 14371 | 6941 | 12506 | 10896 | 143068 | 85565 | 37100 | 0 | 0 | 0 | ANTHC | ANTHC
Pilot Station | Circulating/Gravity | 634 | 13334 | 800 | 2687 | 1367 | 122398 | 71215 | 86637 | 0 | 0 | 0
Pitkas Point | Circulating/Gravity | 117 | 12785 | 2160 | 5166 | 3356 | 79856 | 33046 | 38740 | 0 | 0 | 0
POINT HOPE | Circulating/Gravity | 651 | 16501 | 11647 | 0 | 0 | 189313.2038 | 0 | 0 | 0 | 0 | 0
POINT LAY | Circulating/Gravity | 189 | 19109 | 7537 | 0 | 0 | 198494.2864 | 0 | 0 | 0 | 0 | 0
Quinhagak | Circulating/Gravity | 669 | 12107 |  | 5915 |  | 95990 | [5 empty] | ARUC | City
Russian Mission | Circulating/Gravity | 325 | 13382 | 944 | 2340 | 457 | 33713 | 29762 | 5546 | 0 | 0 | 0 | ANTHC | ANTHC
Saint Mary's | Circulating/Gravity | 507 | 12785 | 2160 | 4593 |  | 106319 | [5 empty] | ARUC | ARUC
Scammon Bay | Circulating/Gravity | 474 | 13048 |  | 5610 |  | 41655 | [5 empty] | ARUC | AVEC
Shaktoolik | Circulating/Gravity | 282 | 13919 | 4224 | 25029.6715 |  | 80988.362 | 37637 | 326222 | 0 | 0 | 0 | ANTHC | ANTHC
Shungnak | Circulating/Gravity | 262 | 15586 |  | 550 |  | 50855 | [5 empty] | WTP Op | Village
Sleetmute | Circulating/Gravity | 99 | 13339 | 1386 | 4333.0949 | 182 | 51103.2422 | 21515 | 125700 | 0 | 0 | 0 | ANTHC | ANTHC
Tanacross | Circulating/Gravity | 136 | 15479 |  | 2623 |  | 42480 | [5 empty] | City | AVEC
Togiak | Circulating/Gravity | 817 | 11306 |  | 12056 |  | 8127 | [5 empty] | WTP Op | AVEC
Toksook Bay | Circulating/Gravity | 623 | 12990 | 354 | 2694 | 1918 | 109786 | 78413 | 14320 | 0 | 0 | Yes | ANTHC | ANTHC
WAINWRIGHT | Circulating/Gravity | 553 | 19824 | 14501 | 0 | 0 | 262230.3601 | 0 | 0 | 0 | 0 | 0
White Mountain | Circulating/Gravity | 190 | 13578 |  | 4180 |  | 44553 | [5 empty] | Util Co | City
Alakanuk | Circulating/Vacuum | 730 | 13339 | 9860 | 24327 | 17732 | 276196 | 204113 | 95220 | 0 | 0 | Yes | ANTHC | ANTHC
Chevak | Circulating/Vacuum | 989 | 13339 | 2584 | 12134 | 5727 | 265409 | 196045 | 333325 | 0 | 0 | 0 | ANTHC | ANTHC
Emmonak | Circulating/Vacuum | 841 | 13467 | 4952 | 18490 | 12086 | 446534 | 362954 | 150539 | 0 | 0 | Yes
Hooper Bay | Circulating/Vacuum | 1178 | 13334 | 33890 | 43350 | 0 | 430807.8766 | 0 | 0 | 0 | 0 | 0
Kotlik | Circulating/Vacuum | 577 | 13467 |  | 4354 |  | 186028 | [5 empty] | ARUC | AVEC
Noorvik | Circulating/Vacuum | 668 | 15675 |  | 13227 |  | 215185 | [5 empty] | AEA | energy Audit
Nunam Iqua | Circulating/Vacuum | 181 | #N/A | 4620 | 3857 | 1928 | 149965 | 111853 | 28220 | 7550.7246 | 3611.8033 | Yes
Savoonga | Circulating/Vacuum | 718 | 14971 | 1722 | 9626 | 333 | 166485 | 158007 | 330630 | 0 | 0 | 0 | ANTHC | ANTHC
Selawik | Circulating/Vacuum | 876 | 16827 | 6820 | 15595 | 9703.2733 | 734410 | 402276 | 508955 | 0 | 0 | 0 | ANTHC | ANTHC
St. Michael | Circulating/Vacuum | 401 | 11772 |  | 11000 |  | 225881 | [5 empty] | ARUC | AVEC
Buckland | Closed Haul/Closed Haul | 416 | 16462 |  | 3860 |  | 78240 | [5 empty] | WTP Op | City
Mekoryuk | Closed Haul/Closed Haul | 191 | 13575 |  | 1812 |  | 28469 | [5 empty] | City | Util Co
Napaskiak | Closed Haul/Closed Haul | 451 | 13106 | 2961 | 9161 | 5839 | 55111 | 49028 | 17735 | 0 | 0 | 0 | ANTHC | ANTHC
Nunapitchuk | Closed Haul/Closed Haul | 563 | 13106 | 3270 | 7410 | 4684 | 33613 | 31010 | 16650 | 0 | 0 | 0
Shishmaref | Closed Haul/Closed Haul | 563 | 15790 |  | 568 |  | 27990 | [5 empty] | City | City
Tuntutuliak | Closed Haul/Closed Haul | 437 | 13106 | 4480 | 14629.3285 | 1083 | 17702.5476 | 11146 | 311025 | 0 | 0 | 0 | ANTHC | ANTHC
EAGLE | Closed Haul/Closed Haul | 81 | 14891 | 684 | 0 | 0 | 1176.5106 | 0 | 0 | 0 | 0 | 0
Nightmute | Closed Haul/Closed Haul | 274 | 13048 | 450 | 0 | 0 | 21148 | 10156 | 4905 | 0 | 0 | 0
Akutan | Individual/Individual | 82 | 8554 |  | 1163 |  | 9916 | [5 empty] | City | City
Naknek | None | 523 | 11716 | 3020 | 1877 | 1352 | 5494 | 5012 | 9366 | 0 | 0 | 0
Upper Kalskag | None | #N/A | 13356 | 30 | 0 | 0 | 26700 | 8478 | 20200 | 0 | 0 | 0
Goodnews Bay | Pressure/Gravity | 259 | 12107 | 2196 | 5024 | 477 | 20944 | 19980 | 22400 | 0 | 0 | 0
Haines | Pressure/Gravity | 1805 | 8505 | xxx | 6900 | 0 | 260000 | 0 | 0 | 0 | 0 | 0
HOONAH | Pressure/Gravity | 787 | 9105 | 5880 | 2324.2358 | 0 | 163503.1565 | 0 | 0 | 0 | 0 | 0
JUNEAU | Pressure/Gravity | 33026 | 8897 | 50231 | 100753.5766 | 0 | 945058.5054 | 0 | 0 | 0 | 0 | 0
KAKE | Pressure/Gravity | 626 | 8527 | 1200 | 876.7883 | 0 | 12463.7788 | 0 | 0 | 0 | 0 | 0
Kasaan | Pressure/Gravity | 49 | 7802 |  | 14550 |  | 1416 | [5 empty] | City | AVEC
KODIAK | Pressure/Gravity | 6329 | 8837 | 12100 | 16303.4453 | 0 | 491998.928 | 0 | 0 | 0 | 0 | 0
Kokhanok | Pressure/Gravity | 170 | 11610 |  | 3600 |  | 17989 | [5 empty] | Village | ARUC
Larsen Bay | Pressure/Gravity | 87 | 9065 |  | 21105 |  | 39160 | [5 empty] | City | ARUC
Old Harbor | Pressure/Gravity | 218 | 8614 |  | 8282 |  | 53337 | [5 empty] | City | ARUC
Ouzinkie | Pressure/Gravity | 172 | 8539 |  | 13403 |  | 8924 | [5 empty] | City | ARUC
PORT LIONS | Pressure/Gravity | 176 | 8539 | 1200 | 534.2628 | 0 | 13553.122 | 0 | 0 | 0 | 0 | 0
SITKA | Pressure/Gravity | 9061 | 8011 | 17100 | 11562.0438 | 0 | 474844.2736 | 0 | 0 | 0 | 0 | 0
SKAGWAY | Pressure/Gravity | 967 | 8666 | 7700 | 7665.635 | 0 | 145441.309 | 0 | 0 | 0 | 0 | 0
South Naknek | Pressure/Gravity | 79 | 11772 |  | 20720 |  | 6494 | [5 empty] | ARUC | AVEC
Twin Hills | Pressure/Gravity | 87 | 11306 | 600 | 999 | 841 | 13723 | 5012 | 42667 | 0 | 0 | 0
Tyonek | Pressure/Gravity | 177 | 9742 |  | 4525 |  | 45360 | [5 empty] | ARUC | ARUC
Chignik Lagoon | Pressure/Individual | 78 | 9612 |  | 3067 |  | 14749 | [5 empty] | ARUC | City
Chignik Lake | Pressure/Individual | 73 | 9612 |  | 750 |  | 23044 | [5 empty] | ARUC | City
Kivalina | Washeteria/Honey Bucket | 374 | 16758 |  | 20441 |  | 54425 | [5 empty] | City | City
Pitka's Point | Washeteria/Honey Bucket | 109 | 12785 |  | 9228 |  | 40237 | [5 empty] | ARUC | ARUC
Shageluk | Washeteria/Honey Bucket | 83 | 13462 |  | 6000 |  | 22240 | [5 empty] | energy Audit | TCSA
Stebbins | Washeteria/Honey Bucket | 556 | 14272 |  | 2438 |  | 46764 | [5 empty] | City | ARUC
Wales | Washeteria/Honey Bucket | 145 | 15939 |  | 7265 |  | 10785 | [5 empty] | WTP Op | Util Co
Atmautluak | Washeteria/Honey Bucket | 277 | 13106 |  | 7500 |  | 65961 | [5 empty] | ARUC | energy Audit
Chefornak | Washeteria/Honey Bucket | 420 | 12990 | 950 | 2060 | 765 | 46022 | 30819 | 65358 | 0 | 0 | Yes | ANTHC | ANTHC
Kongiganak | Washeteria/Honey Bucket | 501 | 11306 | 8903 | 4581.9416 | 0 | 36182.8264 | 0 | 0 | 0 | 0 | Yes
Koyukuk | Washeteria/Honey Bucket | 96 | 14371 | 1089 | 5551 |  | 16104 | [5 empty] | City | AVEC
Kwethluk | Washeteria/Honey Bucket | 721 | 13106 |  | 3000 |  | 56344 | [5 empty] | City | AVEC
Newtok | Washeteria/Honey Bucket | 380 | 13048 | 1568 | 0 | 0 | 22565.1079 | 9127 | 1500 | 0 | 0 | Yes | ANTHC | ANTHC
Teller | Washeteria/Honey Bucket | 256 | 15142 | 3039 | 7716 | 6981 | 35529 | 817 | 23100 | 0 | 0 | 0
Tuluksak | Washeteria/Honey Bucket | 372 | 13106 | 1800 | 6255 | 4012 | 34664 | 31954 | 20650 | 0 | 0 | 0 | ANTHC | ANTHC
Tununak | Washeteria/Honey Bucket | 384 | 13106 | 2048 | 2174 | 1815 | 37367 | 28294 | 29123 | 0 | 0 | 0

## Washeteria
Community | Model Type | Population | HDD | SQFT | HF Used | HF w/Retro | kWh/yr | kWh/yr w/ retro | Implementation Cost | HR | Steam District | HR Installed (Yes, No)
Kivalina | Washeteria/Honey Bucket | 374 | 16758 |  | 20441 |  | 54425 | [5 empty] | City | City
Teller | Washeteria/Honey Bucket | 256 | 15142 | 3039 | 7716 | 6981 | 35529 | 817 | 23100 | 0 | 0
Tuluksak | Washeteria/Honey Bucket | 372 | 13106 | 1800 | 6255 | 4012 | 34664 | 31954 | 20650 | 0 | 0 |  | ANTHC | ANTHC
Tununak | Washeteria/Honey Bucket | 384 | 13106 | 2048 | 2174 | 1815 | 37367 | 28294 | 29123 | 0 | 0
Pitka's Point | Washeteria/Honey Bucket | 109 | 12785 |  | 9228 |  | 40237 | [5 empty] | ARUC | ARUC
Shageluk | Washeteria/Honey Bucket | 83 | 13462 |  | 6000 |  | 22240 | [5 empty] | energy Audit | TCSA
Stebbins | Washeteria/Honey Bucket | 556 | 14272 |  | 2438 |  | 46764 | [5 empty] | City | ARUC
Wales | Washeteria/Honey Bucket | 145 | 15939 |  | 7265 |  | 10785 | [5 empty] | WTP Op | Util Co
Atmautluak | Washeteria/Honey Bucket | 277 | 13106 |  | 7500 |  | 65961 | [5 empty] | ARUC | energy Audit
Koyukuk | Washeteria/Honey Bucket | 96 | 14371 | 1089 | 5551 |  | 16104 | [5 empty] | City | AVEC
Kwethluk | Washeteria/Honey Bucket | 721 | 13106 |  | 3000 |  | 56344 | [5 empty] | City | AVEC
Chefornak | Washeteria/Honey Bucket | 420 | 12990 | 950 | 2060 | 765 | 46022 | 30819 | 65358 | 0 | 0 | Yes | ANTHC | ANTHC
Kongiganak | Washeteria/Honey Bucket | 501 | 11306 | 8903 | 4581.9416 | 0 | 36182.8264 | 0 | 0 | 0 | 0 | Yes
Newtok | Washeteria/Honey Bucket | 380 | 13048 | 1568 | 0 | 0 | 22565.1079 | 9127 | 1500 | 0 | 0 | Yes | ANTHC | ANTHC
KWh | [9 empty] | HF
SUMMARY OUTPUT | [9 empty] | SUMMARY OUTPUT
Regression Statistics | [9 empty] | Regression Statistics
Multiple R | 0.94918 | [8 empty] | Multiple R | 0.87101
R Square | 0.90095 | [8 empty] | R Square | 0.75865
Adjusted R Square | 0.80936 | [8 empty] | Adjusted R Square | 0.62072
Standard Error | 13766.6482 | [8 empty] | Standard Error | 4623.5502
Observations | 14 | [8 empty] | Observations | 11
ANOVA | [9 empty] | ANOVA
| df | SS | MS | F | Significance F | [5 empty] | df | SS | MS | F | Significance F
Regression | 2 | 20686094692.0911 | 10343047346.0455 | 54.5748 | 1.9462e-06 |  |  |  |  | Regression | 2 | 604771140.394 | 302385570.197 | 14.1452 | 0.0023615
Residual | 12 | 2274247226.2849 | 189520602.1904 | [6 empty] | Residual | 9 | 192394951.606 | 21377216.8451
Total | 14 | 22960341918.3759 | [7 empty] | Total | 11 | 797166092
| Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0% |  |  | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0%
Intercept | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | Intercept | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Population | 51.7595 | 19.1557 | 2.702 | 0.019237 | 10.0228 | 93.4963 | 10.0228 | 93.4963 |  | Population | -6.6588 | 7.0249 | -0.94789 | 0.36794 | -22.5501 | 9.2326 | -22.5501 | 9.2326
HDD | 1.4606 | 0.52631 | 2.7752 | 0.0168 | 0.31387 | 2.6073 | 0.31387 | 2.6073 |  | HDD | 0.65787 | 0.17985 | 3.6579 | 0.0052524 | 0.25103 | 1.0647 | 0.25103 | 1.0647
[7 empty] | 1.4606 | 0.65787
[7 empty] | 51.7595 | -6.6588

## Pressure Gravity
Community | Model Type | Population | HDD | SQFT | HF Used | HF w/Retro | kWh/yr | kWh/yr w/ retro | Implementation Cost | HR | Steam District | HR Installed (Yes, No)
Goodnews Bay | Pressure/Gravity | 259 | 12107 | 2196 | 5024 | 477 | 20944 | 19980 | 22400 | 0 | 0 | 0
Haines | Pressure/Gravity | 1805 | 8505 | xxx | 6900 | 0 | 260000 | 0 | 0 | 0 | 0 | 0
HOONAH | Pressure/Gravity | 787 | 9105 | 5880 | 2324.2358 | 0 | 163503.1565 | 0 | 0 | 0 | 0 | 0
JUNEAU | Pressure/Gravity | 33026 | 8897 | 50231 | 100753.5766 | 0 | 945058.5054 | 0 | 0 | 0 | 0 | 0
KAKE | Pressure/Gravity | 626 | 8527 | 1200 | 876.7883 | 0 | 12463.7788 | 0 | 0 | 0 | 0 | 0
Kasaan | Pressure/Gravity | 49 | 7802 |  | 14550 |  | 1416 | [5 empty] | City | AVEC
KODIAK | Pressure/Gravity | 6329 | 8837 | 12100 | 16303.4453 | 0 | 491998.928 | 0 | 0 | 0 | 0 | 0
Kokhanok | Pressure/Gravity | 170 | 11610 |  | 3600 |  | 17989 | [5 empty] | Village | ARUC
Larsen Bay | Pressure/Gravity | 87 | 9065 |  | 21105 |  | 39160 | [5 empty] | City | ARUC
Old Harbor | Pressure/Gravity | 218 | 8614 |  | 8282 |  | 53337 | [5 empty] | City | ARUC
Ouzinkie | Pressure/Gravity | 172 | 8539 |  | 13403 |  | 8924 | [5 empty] | City | ARUC
PORT LIONS | Pressure/Gravity | 176 | 8539 | 1200 | 534.2628 | 0 | 13553.122 | 0 | 0 | 0 | 0 | 0
SITKA | Pressure/Gravity | 9061 | 8011 | 17100 | 11562.0438 | 0 | 474844.2736 | 0 | 0 | 0 | 0 | 0
SKAGWAY | Pressure/Gravity | 967 | 8666 | 7700 | 7665.635 | 0 | 145441.309 | 0 | 0 | 0 | 0 | 0
South Naknek | Pressure/Gravity | 79 | 11772 |  | 20720 |  | 6494 | [5 empty] | ARUC | AVEC
Twin Hills | Pressure/Gravity | 87 | 11306 | 600 | 999 | 841 | 13723 | 5012 | 42667 | 0 | 0 | 0
Tyonek | Pressure/Gravity | 177 | 9742 |  | 4525 |  | 45360 | [5 empty] | ARUC | ARUC
KWh | [9 empty] | HF
SUMMARY OUTPUT | [9 empty] | SUMMARY OUTPUT
Regression Statistics | [9 empty] | Regression Statistics
Multiple R | 0.94604 | [8 empty] | Multiple R | 0.95193
R Square | 0.89499 | [8 empty] | R Square | 0.90617
Adjusted R Square | 0.82132 | [8 empty] | Adjusted R Square | 0.83325
Standard Error | 101928.9563 | [8 empty] | Standard Error | 8684.8962
Observations | 17 | [8 empty] | Observations | 17
ANOVA | [9 empty] | ANOVA
| df | SS | MS | F | Significance F | [5 empty] | df | SS | MS | F | Significance F
Regression | 2 | 1.3282e+12 | 664084338574.3906 | 63.9187 | 9.1277e-08 |  |  |  |  | Regression | 2 | 10926531347.8171 | 5463265673.9085 | 72.4308 | 4.1282e-08
Residual | 15 | 155842681870.2105 | 10389512124.6807 | [6 empty] | Residual | 15 | 1131411329.2183 | 75427421.9479
Total | 17 | 1.484e+12 | [7 empty] | Total | 17 | 12057942677.0353
| Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0% |  |  | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0%
Intercept | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | Intercept | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Population | 29.905 | 3.1133 | 9.6057 | 8.4614e-08 | 23.2693 | 36.5408 | 23.2693 | 36.5408 |  | Population | 2.6992 | 0.26527 | 10.1753 | 3.9735e-08 | 2.1338 | 3.2646 | 2.1338 | 3.2646
HDD | 6.2895 | 2.7779 | 2.2641 | 0.038823 | 0.36843 | 12.2105 | 0.36843 | 12.2105 |  | HDD | 0.59226 | 0.2367 | 2.5022 | 0.0244 | 0.087752 | 1.0968 | 0.087752 | 1.0968
[7 empty] | 6.2895 | 0.59226
[7 empty] | 29.905 | 2.6992
[7 empty] | 6.2895 | 0.59226

## None
Community | W&WW type | Model Type | Population | HDD | SQFT | HF Used | HF w/Retro | kWh/yr | kWh/yr w/ retro | Implementation Cost | HR | Steam District | HR Installed (Yes, No)
Naknek | Wells/ST/DF | None | 523 | 11716 | 3020 | 1877 | 1352 | 5494 | 5012 | 9366 | 0 | 0 | 0
Kalskag | Wells/Gravity | None | 231 | 13356 | 30 | 0 | 0 | 26700 | 8478 | 20200 | 0 | 0 | 0
KWh | [10 empty] | HO

## Haul
Community | W&WW type | Population | HDD | SQFT | HF Used | HF w/Retro | kWh/yr | kWh/yr w/ retro | Implementation Cost | HR | Steam District | HR Installed (Yes, No)
Buckland | Closed Haul/Closed Haul | 416 | 16462 |  | 3860 |  | 78240 | [5 empty] | WTP Op | City
Mekoryuk | Closed Haul/Closed Haul | 191 | 13575 |  | 1812 |  | 28469 | [5 empty] | City | Util Co
Napaskiak | Closed Haul/Closed Haul | 451 | 13106 | 2961 | 9161 | 5839 | 55111 | 49028 | 17735 | 0 | 0 | 0 | ANTHC | ANTHC
Nunapitchuk | Closed Haul/Closed Haul | 563 | 13106 | 3270 | 7410 | 4684 | 33613 | 31010 | 16650 | 0 | 0 | 0
Shishmaref | Closed Haul/Closed Haul | 563 | 15790 |  | 568 |  | 27990 | [5 empty] | City | City
Tuntutuliak | Closed Haul/Closed Haul | 437 | 13106 | 4480 | 14629.3285 | 1083 | 17702.5476 | 11146 | 311025 | 0 | 0 | 0 | ANTHC | ANTHC
EAGLE | Closed Haul/Closed Haul | 81 | 14891 | 684 | 0 | 0 | 1176.5106 | 0 | 0 | 0 | 0 | 0
Nightmute | Closed Haul/Closed Haul | 274 | 13048 | 450 | 0 | 0 | 21148 | 10156 | 4905 | 0 | 0 | 0
KWh | [9 empty] | HF
SUMMARY OUTPUT | [9 empty] | SUMMARY OUTPUT
Regression Statistics | [9 empty] | Regression Statistics
Multiple R | 0.8605 | [8 empty] | Multiple R | 0.79142
R Square | 0.74047 | [8 empty] | R Square | 0.62634
Adjusted R Square | 0.59761 | [8 empty] | Adjusted R Square | 0.42634
Standard Error | 21652.012 | [8 empty] | Standard Error | 5268.0192
Observations | 8 | [8 empty] | Observations | 6
ANOVA | [9 empty] | ANOVA
| df | SS | MS | F | Significance F | [5 empty] | df | SS | MS | F | Significance F
Regression | 1 | 9362812663.3374 | 9362812663.3374 | 19.9715 | 0.0042422 |  |  |  |  | Regression | 1 | 232594709.6665 | 232594709.6665 | 8.3812 | 0.044339
Residual | 7 | 3281667360.1807 | 468809622.883 | [6 empty] | Residual | 5 | 138760130.7333 | 27752026.1467
Total | 8 | 12644480023.5181 | [7 empty] | Total | 6 | 371354840.3999
| Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0% |  |  | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0%
Intercept | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | Intercept | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Population | 84.2367 | 18.8494 | 4.4689 | 0.0029046 | 39.6651 | 128.8084 | 39.6651 | 128.8084 |  | Population | 13.7078 | 4.7349 | 2.895 | 0.033987 | 1.5362 | 25.8793 | 1.5362 | 25.8793
[6 empty] | 84.2367 | 13.7078

## Circulating vacuum
Community | Model Type | Population | HDD | SQFT | HF Used | HF w/Retro | kWh/yr | kWh/yr w/ retro | Implementation Cost | HR | Steam District | HR Installed (Yes, No) | source | source
Chevak | Circulating/Vacuum | 989 | 13339 | 2584 | 12134 | 5727 | 265409 | 196045 | 333325 | 0 | 0 |  | ANTHC | ANTHC
Hooper Bay | Circulating/Vacuum | 1178 | 13334 | 33890 | 43350 | 0 | 430807.8766 | 0 | 0 | 0 | 0
Savoonga | Circulating/Vacuum | 718 | 14971 | 1722 | 9626 | 333 | 166485 | 158007 | 330630 | 0 | 0 |  | ANTHC | ANTHC
Selawik | Circulating/Vacuum | 876 | 16827 | 6820 | 15595 | 9703.2733 | 734410 | 402276 | 508955 | 0 | 0 |  | ANTHC | ANTHC
Kotlik | Circulating/Vacuum | 577 | 13467 |  | 4354 |  | 186028 | [5 empty] | ARUC | AVEC
Noorvik | Circulating/Vacuum | 668 | 15675 |  | 13227 |  | 215185 | [5 empty] | AEA | energy Audit
St. Michael | Circulating/Vacuum | 401 | 11772 |  | 11000 |  | 225881 | [5 empty] | ARUC | AVEC
Alakanuk | Circulating/Vacuum | 730 | 13339 | 9860 | 24327 | 17732 | 276196 | 204113 | 95220 | 0 | 0 | Yes | ANTHC | ANTHC
Emmonak | Circulating/Vacuum | 841 | 13467 | 4952 | 18490 | 12086 | 446534 | 362954 | 150539 | 0 | 0 | Yes
Nunam Iqua | Circulating/Vacuum | 181 | 13467 | 4620 | 3857 | 1928 | 149965 | 111853 | 28220 | 7550.7246 | 3611.8033 | Yes
KWh | [9 empty] | HF
SUMMARY OUTPUT | [9 empty] | SUMMARY OUTPUT
Regression Statistics | [9 empty] | Regression Statistics
Multiple R | 0.91459 | [8 empty] | Multiple R | 0.8968
R Square | 0.83647 | [8 empty] | R Square | 0.80424
Adjusted R Square | 0.72536 | [8 empty] | Adjusted R Square | 0.63758
Standard Error | 150900.5572 | [8 empty] | Standard Error | 9346.0082
Observations | 10 | [8 empty] | Observations | 7
ANOVA | [9 empty] | ANOVA
| df | SS | MS | F | Significance F | [5 empty] | df | SS | MS | F | Significance F
Regression | 1 | 1.0483e+12 | 1.0483e+12 | 46.0355 | 0.00013996 |  |  |  |  | Regression | 1 | 2153143982.3562 | 2153143982.3562 | 24.6502 | 0.0042303
Residual | 9 | 204938803601.7882 | 22770978177.9765 | [6 empty] | Residual | 6 | 524087219.6438 | 87347869.9406
Total | 10 | 1.2532e+12 | [7 empty] | Total | 7 | 2677231202
| Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0% |  |  | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0%
Intercept | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | Intercept | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Population | 422.8917 | 62.3279 | 6.7849 | 8.0408e-05 | 281.8961 | 563.8873 | 281.8961 | 563.8873 |  | Population | 21.6618 | 4.363 | 4.9649 | 0.0025398 | 10.9859 | 32.3376 | 10.9859 | 32.3376
[8 empty] | 422.8917 | 21.6618

## Circulating Gravity
Community | Model Type | Population | HDD | SQFT | HF Used | HF w/Retro | kWh/yr | kWh/yr w/ retro | Implementation Cost | HR | Steam District | HR Installed (Yes, No) | source | source
Lower Kalskag | Circulating/Gravity | 281 | 13382 | 1512 | 1946 | 179 | 71221 | 58232 | 13350 | 0 | 0 |  | ANTHC | ANTHC
Chuathbaluk | Circulating/Gravity | 134 | 13356 | 971 | 2018 | 357 | 25982 | 24157 | 151210 | 0 | 0
Russian Mission | Circulating/Gravity | 325 | 13382 | 944 | 2340 | 457 | 33713 | 29762 | 5546 | 0 | 0 |  | ANTHC | ANTHC
Pilot Station | Circulating/Gravity | 634 | 13334 | 800 | 2687 | 1367 | 122398 | 71215 | 86637 | 0 | 0
Sleetmute | Circulating/Gravity | 99 | 13339 | 1386 | 4333.0949 | 182 | 51103.2422 | 21515 | 125700 | 0 | 0 |  | ANTHC | ANTHC
Pitkas Point | Circulating/Gravity | 117 | 12785 | 2160 | 5166 | 3356 | 79856 | 33046 | 38740 | 0 | 0
Holy Cross | Circulating/Gravity | 177 | 13462 | 704 | 5812 | 758 | 65948 | 56710 | 395681 | 0 | 0
Huslia | Circulating/Gravity | 338 | 14942 | 4215 | 6614 | 1093 | 96387.4189 | 46357 | 285680 | 0 | 0
Grayling | Circulating/Gravity | 191 | 14574 | 1536 | 6850 | 1747 | 91836 | 65099 | 397160 | 0 | 0
Eek | Circulating/Gravity | 349 | 11548 | 2032 | 6965 | 5671 | 42891 | 33405 | 42000 | 0 | 0 |  | ANTHC | ANTHC
Elim | Circulating/Gravity | 350 | 13943 | 1854 | 9363 | 3139 | 78148 | 54777 | 144030 | 0 | 0 |  | ANTHC | ANTHC
Nulato | Circulating/Gravity | 246 | 14371 | 6941 | 12506 | 10896 | 143068 | 85565 | 37100 | 0 | 0 |  | ANTHC | ANTHC
Brevig Mission | Circulating/Gravity | 411 | 14138 | 2800 | 12811 | 2643 | 118202 | 89551 | 605160 | 0 | 0 |  | ANTHC | ANTHC
Koyuk | Circulating/Gravity | 321 | 13943 | 2753 | 13303 | 3378 | 90964 | 69040 | 476935 | 0 | 0
BETHEL | Circulating/Gravity | 6241 | 13334 | 35925 | 15192.654 | 0 | 340683.0661 | 0 | 0 | 0 | 0
Gambell | Circulating/Gravity | 713 | 14572 | 4664 | 16307 | 14262 | 107513 | 79008 | 8719 | 0 | 0
Shaktoolik | Circulating/Gravity | 282 | 13919 | 4224 | 25029.6715 |  | 80988.362 | 37637 | 326222 | 0 | 0 |  | ANTHC | ANTHC
Igiugig | Circulating/Gravity | 50 | 11306 |  | 486 |  | 15758 | [5 empty] | ARUC | ARUC
Shungnak | Circulating/Gravity | 262 | 15586 |  | 550 |  | 50855 | [5 empty] | WTP Op | Village
Noatak | Circulating/Gravity | 514 | 16758 |  | 878 |  | 131974 | [5 empty] | Village | City
Tanacross | Circulating/Gravity | 136 | 15479 |  | 2623 |  | 42480 | [5 empty] | City | AVEC
Manokotak | Circulating/Gravity | 442 | 11306 |  | 3294 |  | 60606 | [5 empty] | City | ARUC
Anvik | Circulating/Gravity | 85 | 13462 |  | 3817 |  | 11351 | [5 empty] | ARUC | AVEC
White Mountain | Circulating/Gravity | 190 | 13578 |  | 4180 |  | 44553 | [5 empty] | Util Co | City
Saint Mary's | Circulating/Gravity | 507 | 12785 | 2160 | 4593 |  | 106319 | [5 empty] | ARUC | ARUC
Scammon Bay | Circulating/Gravity | 474 | 13048 |  | 5610 |  | 41655 | [5 empty] | ARUC | AVEC
Quinhagak | Circulating/Gravity | 669 | 12107 |  | 5915 |  | 95990 | [5 empty] | ARUC | City
Kiana | Circulating/Gravity | 363 | 15675 |  | 6985 |  | 122551 | [5 empty] | ARUC | ARUC
Kaltag | Circulating/Gravity | 190 | 14371 |  | 7845 |  | 6695 | [5 empty] | City | ARUC
Mountain Village | Circulating/Gravity | 813 | 13448 |  | 10224 |  | 33372 | [5 empty] | ARUC | ARUC
Nenana | Circulating/Gravity | 378 | 14539 |  | 11363 |  | 205377 | [5 empty] | energy Audit | energy Audit
Togiak | Circulating/Gravity | 817 | 11306 |  | 12056 |  | 8127 | [5 empty] | WTP Op | AVEC
Kobuk | Circulating/Gravity | 151 | 15716 |  | 13904 |  | 97196 | [5 empty] | ARUC | AVEC
Golovin | Circulating/Gravity | 156 | 13943 |  | 16314 |  | 35621 | [5 empty] | ARUC | ARUC
Newhalen | Circulating/Gravity | 190 | 11130 |  | 17236 |  | 34909 | [5 empty] | ARUC | AVEC
Ambler | Circulating/Gravity | 258 | 15675 |  | 32400 |  | 151546 | [5 empty] | ARUC | City
New Stuyahok | Circulating/Gravity | 510 | 11306 |  | 37180 |  | 55153 | [5 empty] | WTP Op | energy Audit
ANAKTUVUK PASS | Circulating/Gravity | 324 | 18873 | 6373 | 0 | 0 | 260202.3418 | 0 | 0 | 0 | 0
ATQASUK | Circulating/Gravity | 229 | 20370 | 12237 | 0 | 0 | 415863.7427 | 0 | 0 | 0 | 0
KAKTOVIK | Circulating/Gravity | 251 | 20370 | 11320 | 0 | 0 | 532062.7885 | 0 | 0 | 0 | 0
NUIQSUT | Circulating/Gravity | 444 | 20370 | 7566 | 0 | 0 | 535641.8207 | 0 | 0 | 0 | 0
POINT HOPE | Circulating/Gravity | 651 | 16501 | 11647 | 0 | 0 | 189313.2038 | 0 | 0 | 0 | 0
POINT LAY | Circulating/Gravity | 189 | 19109 | 7537 | 0 | 0 | 198494.2864 | 0 | 0 | 0 | 0
WAINWRIGHT | Circulating/Gravity | 553 | 19824 | 14501 | 0 | 0 | 262230.3601 | 0 | 0 | 0 | 0
Akiak | Circulating/Gravity | 389 | 13105 | 1280 | 711 | 601 | 98533 | 86541 | 18480 | 0 | 0 | Yes | ANTHC | ANTHC
Toksook Bay | Circulating/Gravity | 623 | 12990 | 354 | 2694 | 1918 | 109786 | 78413 | 14320 | 0 | 0 | Yes | ANTHC | ANTHC
Marshall | Circulating/Gravity | 444 | 12785 | 1560 | 6000 | 1457 | 96843 | 75377 | 80355 | 0 | 0 | Yes | ANTHC | ANTHC
KWh | [9 empty] | HF
SUMMARY OUTPUT | [9 empty] | SUMMARY OUTPUT
Regression Statistics | [9 empty] | Regression Statistics
Multiple R | 0.8086 | [8 empty] | Multiple R | 0.75133
R Square | 0.65383 | [8 empty] | R Square | 0.56449
Adjusted R Square | 0.62391 | [8 empty] | Adjusted R Square | 0.52348
Standard Error | 102660.8861 | [8 empty] | Standard Error | 8468.8815
Observations | 47 | [8 empty] | Observations | 37
ANOVA | [9 empty] | ANOVA
| df | SS | MS | F | Significance F | [5 empty] | df | SS | MS | F | Significance F
Regression | 2 | 895762367358.259 | 447881183679.1295 | 42.4965 | 5.2906e-11 |  |  |  |  | Regression | 2 | 3253710764.0348 | 1626855382.0174 | 22.6828 | 5.513e-07
Residual | 45 | 474266589116.9336 | 10539257535.9319 | [6 empty] | Residual | 35 | 2510268401.3449 | 71721954.3241
Total | 47 | 1.37e+12 | [7 empty] | Total | 37 | 5763979165.3797
| Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0% |  |  | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0%
Intercept | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | Intercept | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Population | 32.1504 | 16.9895 | 1.8924 | 0.064885 | -2.0681 | 66.3689 | -2.0681 | 66.3689 |  | Population | 1.3344 | 1.4169 | 0.94182 | 0.35274 | -1.542 | 4.2108 | -1.542 | 4.2108
HDD | 8.2118 | 1.1519 | 7.1287 | 6.5686e-09 | 5.8917 | 10.5319 | 5.8917 | 10.5319 |  | HDD | 0.6296 | 0.11328 | 5.5579 | 2.9555e-06 | 0.39963 | 0.85957 | 0.39963 | 0.85957
[7 empty] | HDD | 8.2118 | 0.6296
[7 empty] | Population | 32.1504 | 1.3344

## Population
Copmmunity | FIPS code | Population (2014)
Adak | 65 | 247
Akhiok | 650 | 81
Akiachak | 760 | 671
Akiak | 870 | 389
Akutan | 1090 | 1052
Alakanuk | 1200 | 730
Alatna | 1305 | 21
Alcan Border | 1390 | 26
Aleknagik | 1420 | 197
Aleneva | 1560 | 21
Allakaket | 1860 | 111
Ambler | 1970 | 274
Anaktuvuk Pass | 2080 | 324
Anchor Point | 3110 | 2059
Anchorage | 3000 | 300549
Anderson | 3220 | 209
Angoon | 3440 | 416
Aniak | 3550 | 533
Anvik | 3880 | 79
Arctic Village | 3990 | 192
Atka | 4210 | 70
Atmautluak | 4430 | 319
Atqasuk | 4500 | 229
Attu Station | 4670 | 0
Badger | 5000 | 19100
Barrow | 5200 | 4469
Bear Creek | 5585 | 1985
Beaver | 5750 | 58
Beluga | 6245 | 17
Bethel | 6520 | 6241
Bettles | 6630 | 13
Big Delta | 6850 | 534
Big Lake | 7070 | 3575
Birch Creek | 7620 | 22
Brevig Mission | 8740 | 411
Buckland | 9600 | 482
Buffalo Soapstone | 9657 | 876
Butte | 9710 | 3418
Cantwell | 10150 | 182
Central | 11690 | 86
Chalkyitsik | 11800 | 77
Chase | 12350 | 41
Chefornak | 12680 | 420
Chena Ridge | 12920 | 6160
Chenega Bay | 12970 | 57
Chevak | 13230 | 989
Chickaloon | 13340 | 232
Chicken | 13450 | 6
Chignik | 13550 | 96
Chignik Lagoon | 13670 | 72
Chignik Lake | 13780 | 70
Chiniak | 13860 | 48
Chisana | 13890 | 0
Chistochina | 14000 | 94
Chitina | 14110 | 116
Chuathbaluk | 14330 | 134
Circle | 14880 | 119
Clam Gulch | 15320 | 183
Clark's Point | 15430 | 48
Coffman Cove | 16360 | 174
Cohoe | 16420 | 1394
Cold Bay | 16530 | 89
Coldfoot | 16630 | 9
College | 16750 | 13092
Cooper Landing | 17190 | 295
Copper Center | 17300 | 283
Cordova | 17410 | 2286
Covenant Life | 17670 | 71
Craig | 17740 | 1198
Crooked Creek | 17850 | 105
Crown Point | 17960 | 71
Deering | 18510 | 152
Delta Junction | 18620 | 1089
Deltana | 18675 | 2249
Diamond Ridge | 18925 | 1174
Dillingham | 18950 | 2431
Diomede | 19060 | 111
Dot Lake | 19720 | 11
Dot Lake Village | 19750 | 41
Dry Creek | 20020 | 102
Eagle | 20380 | 81
Eagle Village | 20600 | 65
Edna Bay | 20970 | 46
Eek | 21040 | 349
Egegik | 21150 | 106
Eielson AFB | 21370 | 2205
Ekwok | 21810 | 119
Elfin Cove | 22140 | 16
Elim | 22250 | 350
Emmonak | 22910 | 841
Ester | 23460 | 2546
Eureka Roadhouse | 23720 | 38
Evansville | 23790 | 8
Excursion Inlet | 23900 | 9
Fairbanks | 24230 | 31721
False Pass | 24660 | 34
Farm Loop | 25000 | 1079
Farmers Loop | 24980 | 4953
Ferry | 25220 | 25
Fishhook | 25550 | 5331
Flat | 25880 | 0
Fort Greely | 26100 | 463
Fort Yukon | 26760 | 576
Four Mile Road | 26835 | 31
Fox | 26870 | 440
Fox River | 26910 | 644
Fritz Creek | 27090 | 2024
Funny River | 27145 | 877
Gakona | 27420 | 205
Galena | 27530 | 449
Gambell | 27640 | 713
Game Creek | 27700 | 18
Gateway | 28200 | 6472
Glacier View | 28590 | 247
Glennallen | 28740 | 473
Goldstream | 29130 | 3689
Golovin | 29180 | 171
Goodnews Bay | 29290 | 259
Grayling | 30060 | 191
Gulkana | 30500 | 114
Gustavus | 30940 | 516
Haines | 31050 | 1805
Halibut Cove | 31270 | 65
Happy Valley | 31710 | 566
Harding-Birch Lakes | 31765 | 319
Healy | 32150 | 1104
Healy Lake | 32310 | 7
Hobart Bay | 32550 | 1
Hollis | 32810 | 94
Holy Cross | 33030 | 177
Homer | 33140 | 5099
Hoonah | 33360 | 787
Hooper Bay | 33470 | 1178
Hope | 33580 | 196
Houston | 33800 | 1965
Hughes | 33910 | 86
Huslia | 34350 | 338
Hydaburg | 34460 | 405
Hyder | 34570 | 91
Igiugig | 34790 | 53
Iliamna | 35120 | 97
Ivanof Bay | 35890 | 7
Juneau | 36400 | 33026
Kachemak | 36550 | #N/A
Kake | 36770 | 626
Kaktovik | 36990 | 251
Kalifornsky | 37250 | 8441
Kalskag | 81320 | 231
Kaltag | 37430 | 182
Karluk | 37540 | 43
Kasaan | 37650 | 75
Kasigluk | 37975 | 600
Kasilof | 38090 | 574
Kenai | 38420 | 7167
Kenny Lake | 38910 | 307
Ketchikan | 38970 | 8314
Kiana | 39300 | 403
King Cove | 39410 | 905
King Salmon | 39630 | 335
Kipnuk | 39740 | 643
Kivalina | 39960 | 411
Klawock | 40400 | 802
Klukwan | 40510 | 84
Knik River | 40670 | 756
Knik-Fairview | 40645 | 17097
Kobuk | 40840 | 152
Kodiak | 40950 | 6329
Kodiak Station | 41210 | 1305
Kokhanok | 41280 | 167
Koliganek | 41500 | 231
Kongiganak | 41610 | 501
Kotlik | 41720 | 653
Kotzebue | 41830 | 3153
Koyuk | 41940 | 321
Koyukuk | 42050 | 92
Kupreanof | 42160 | 25
Kwethluk | 42380 | 800
Kwigillingok | 42490 | 364
Lake Louise | 42805 | 47
Lake Minchumina | 42820 | 10
Lakes | 42832 | 8986
Larsen Bay | 43040 | 71
Lazy Mountain | 43260 | 1568
Levelock | 43810 | 80
Lime Village | 44030 | 29
Livengood | 44580 | 12
Loring | 45020 | 3
Lowell Point | 45295 | 68
Lower Kalskag | 45460 | 281
Lutak | 45700 | 78
Manley Hot Springs | 46780 | 117
Manokotak | 46890 | 500
Marshall | 47000 | 444
McCarthy | 45790 | 34
McGrath | 46010 | 315
McKinley Park | 46560 | 179
Meadow Lakes | 47735 | 8336
Mekoryuk | 47990 | 210
Mendeltna | 48200 | 38
Mentasta Lake | 48540 | 125
Mertarvik | 48590 | 0
Metlakatla | 48870 | 1480
Minto | 49530 | 205
Moose Creek | 50080 | 631
Moose Pass | 50190 | 234
Mosquito Lake | 50800 | 262
Mountain Village | 51180 | 857
Mud Bay | 51455 | 183
Nabesna | 51960 | 2
Naknek | 52060 | 523
Nanwalek | 52210 | 275
Napakiak | 52390 | 387
Napaskiak | 52720 | 451
Naukati Bay | 52845 | 121
Nelchina | 52915 | 64
Nelson Lagoon | 52940 | 44
Nenana | 53050 | 396
New Allakaket | 53162 | 50
New Stuyahok | 53710 | 499
Newhalen | 53270 | 207
Newtok | 53820 | 380
Nightmute | 53930 | 274
Nikiski | 54050 | 4652
Nikolaevsk | 54085 | 270
Nikolai | 54150 | 83
Nikolski | 54260 | 15
Ninilchik | 54480 | 847
Noatak | 54700 | 556
Nome | 54920 | 3721
Nondalton | 55030 | 164
Noorvik | 55140 | 639
North Pole | 55910 | 2198
Northway | 56220 | 66
Northway Junction | 56250 | 62
Northway Village | 56260 | 112
Nuiqsut | 56320 | 444
Nulato | 56350 | 246
Nunam Iqua | 56600 | 181
Nunapitchuk | 56680 | 563
Old Harbor | 57340 | 213
Oscarville | 58330 | 53
Ouzinkie | 58550 | 171
Palmer | 58660 | 6053
Paxson | 59320 | 29
Pedro Bay | 59540 | 47
Pelican | 59650 | 75
Perryville | 60200 | 101
Petersburg | 60310 | 2964
Petersville | 60460 | 3
Pilot Point | 60640 | 78
Pilot Station | 60750 | 634
Pitkas Point | 60860 | 117
Platinum | 61080 | 60
Pleasant Valley | 61120 | 745
Point Baker | 61190 | 13
Point Hope | 61630 | 651
Point Lay | 61700 | 189
Point MacKenzie | 61788 | 2026
Point Possession | 61825 | 3
Pope-Vannoy Landing | 62125 | 4
Port Alexander | 62510 | 45
Port Alsworth | 62620 | 179
Port Clarence | 63170 | 0
Port Graham | 63280 | 168
Port Heiden | 63390 | 114
Port Lions | 63610 | 176
Port Protection | 63870 | 56
Portage Creek | 62285 | 1
Primrose | 64240 | 73
Prudhoe Bay | 64380 | 2174
Quinhagak | 64600 | 724
Rampart | 64820 | 21
Red Devil | 64930 | 19
Red Dog Mine | 64980 | 309
Ridgeway | 65345 | 2187
Ruby | 65590 | 186
Russian Mission | 65700 | 325
Saint George | 65800 | 92
Saint Mary's | 66140 | 550
Saint Michael | 66360 | 418
Saint Paul | 66470 | 436
Salamatof | 66510 | 1120
Salcha | 66550 | 1053
Sand Point | 67020 | 946
Savoonga | 67460 | 718
Saxman | 67570 | 419
Scammon Bay | 67680 | 528
Selawik | 68230 | 876
Seldovia | 68340 | 233
Seldovia Village | 68370 | 170
Seward | 68560 | 2768
Shageluk | 68670 | 79
Shaktoolik | 68890 | 282
Shishmaref | 69770 | 607
Shungnak | 70100 | 308
Silver Springs | 70320 | 117
Sitka | 70540 | 9061
Skagway | 70760 | 967
Skwentna | 70870 | 33
Slana | 70930 | 149
Sleetmute | 71090 | 99
Soldotna | 71640 | 4311
South Naknek | 72190 | 84
South Van Horn | 72230 | 565
Stebbins | 72960 | 608
Steele Creek | 72985 | 6819
Sterling | 73070 | 5869
Stevens Village | 73290 | 46
Stony River | 73400 | 34
Sunrise | 73950 | 9
Susitna | 74340 | 17
Susitna North | 74350 | 1379
Sutton-Alpine | 74525 | 1403
Takotna | 74610 | 62
Talkeetna | 74830 | 850
Tanacross | 75050 | 110
Tanaina | 75077 | 8869
Tanana | 75160 | 229
Tatitlek | 75380 | 98
Tazlina | 75480 | 270
Teller | 75930 | 256
Tenakee Springs | 76260 | 128
Tetlin | 76590 | 131
Thorne Bay | 77140 | 530
Togiak | 77690 | 876
Tok | 77800 | 1246
Toksook Bay | 78240 | 623
Tolsona | 78297 | 32
Tonsina | 78350 | 85
Trapper Creek | 78680 | 472
Tuluksak | 78790 | 372
Tuntutuliak | 79120 | 437
Tununak | 79230 | 384
Twin Hills | 79780 | 87
Two Rivers | 79830 | 680
Tyonek | 79890 | 174
Ugashik | 80100 | 15
Unalakleet | 80660 | 744
Unalaska | 80770 | 4689
Valdez | 82200 | 4032
Venetie | 82420 | 186
Wainwright | 82750 | 553
Wales | 82860 | 146
Wasilla | 83080 | 8275
Whale Pass | 84000 | 39
White Mountain | 84070 | 203
Whitestone | 84120 | 99
Whitestone Logging Camp | 84200 | 0
Whittier | 84510 | 234
Willow | 85280 | 2043
Willow Creek | 85290 | 186
Wiseman | 85610 | 16
Womens Bay | 85680 | 783
Wrangell | 86380 | 2406
Yakutat | 86490 | 631

## HDD
Community | HDD in ARIS equations
Adak | 9046
Akhiok | 9102
Akiachak | 13213
Akiak | 13105
Akutan | 8554
Alakanuk | 13339
Alatna | 16625
Aleknagik | 11751
Allakaket | 16625
Ambler | 15675
Anaktuvuk Pass | 18873
Anchor Point | 10115
Anchorage | 10816
Anderson | 14274
Angoon | 8450
Aniak | 13356
Anvik | 13462
Arctic Village | 17356
Atka | 9054
Atmautluak | 13106
Atqasuk | 20370
Attu | 9490
Auke Bay | 8461
Barrow | 20370
Beaver | 15788
Bethel | 13334
Bettles | 15959
Big Lake | 11796
Birch Creek | 16326
Bird Creek | 10816
Boundary | 15412
Brevig Mission | 14138
Buckland | 16462
Candle | 16462
Cantwell | 13893
Central | 16315
Chalkyitsik | 14274
Chandalar Lake | 17241
Chefornak | 12990
Chena Hot Springs | 15381
Chenega | 9350
Chevak | 13339
Chickaloon | 11790
Chicken | 14891
Chignik | 9612
Chignik Lake | 9612
Chiniak | 8539
Chistochina | 13534
Chitina | 13200
Chuathbaluk | 13356
Chugiak | 10816
Circle | 16349
Circle Hot Springs | 15763
Clam Gulch | 11375
Clark's Point | 11306
Clear | 14375
Coffman Cove | 8104
Cold Bay | 9877
Coldfoot | 16589
Cooper Landing | 10527
Copper Center | 14101
Cordova | 9004
Craig | 7487
Crooked Creek | 13552
Deering | 16462
Delta Junction | 13549
Denali Nat'l Park | 14152
Dillingham | 11306
Diomede | 15939
Dot Lake | 14829
Douglas | 8075
Dry Creek | 14829
Dutch Harbor | 9197
Eagle | 14891
Eagle River | 10816
Eek | 11548
Egegik | 11836
Ekwok | 11306
Elfin Cove | 8140
Elim | 13943
Emmonak | 13467
Nanwalek | 10136
Ester | 14274
Evansville | 15788
Eyak | 9778
Fairbanks | 14274
False Pass | 9733
Fort Yukon | 16326
Gakona | 13534
Galena | 14847
Gambell | 14572
Girdwood | 10336
Glenallen | 14067
Golovin | 13943
Goodnews Bay | 12107
Grayling | 14574
Gulkana | 14004
Gustavus | 8858
Haines | 8505
Halibut Cove | 10349
Healy | 12582
Hollis | 7802
Holy Cross | 13462
Homer | 10349
Hoonah | 9105
Hooper Bay | 13334
Hope | 10100
Houston | 10810
Hughes | 14942
Huslia | 14942
Hydaburg | 7084
Hyder | 7165
Igiugig | 11306
Iliamna | 11130
Indian | 10604
Ivanof Bay | 9612
Jakolof Bay | 10349
Juneau | 8897
Juneau, City of | 8021
Kake | 8527
Kaktovik | 20370
Kalifonsky | 11395
Kaltag | 14371
Karluk | 8539
Kasaan | 7802
Kasigluk | 13106
Kasilof | 11337
Kenai | 11395
Kenny Lake | 14036
Ketchikan | 7084
Kiana | 15675
King Cove | 9733
King Salmon | 11716
Kipnuk | 12990
Kivalina | 16758
Klawock | 7084
Klukwan | 10476
Kobuk | 15716
Kodiak | 8837
Kokhanok | 11610
Koliganek | 11306
Kongiganak | 11306
Kotlik | 13467
Kotzebue | 16032
Koyuk | 13943
Koyukuk | 14371
Kupreanof | 8134
Kwethluk | 13106
Kwigillingok | 12990
Larsen Bay | 9065
Levelock | 11306
Lime Village | 13339
Lower Kalskag | 13382
Manley Hot Springs | 14593
Manokotak | 11306
Marshall | 12785
McCarthy | 13053
McGrath | 14574
Mekoryok | 13575
Mentasta Lake | 15400
Metlakatla | 7000
Meyers Chuck | 7165
Minchumina | 13858
Minto | 15528
Moose Pass | 11126
Mountain Village | 13448
Naknek | 11716
Napaimute | 13356
Napakiak | 13106
Napaskiak | 13106
Naukati | 7084
Nelson Lagoon | 8865
Nenana | 14539
New Stuyahok | 11306
Newhalen | 11130
Newtok | 13048
Nightmute | 13048
Nikiski | 10899
Nikolaevsk | 11155
Nikolai | 15214
Nikolski | 9555
Ninilchik | 11155
Noatak | 16758
Nome | 14371
Nondalton | 11130
Noorvik | 15675
North Pole | 15403
Northway | 15763
Nuiqsut | 20370
Nulato | 14371
Nunapitchuk | 13106
Nunum Iqua | 13467
Old Harbor | 8614
Oscarville | 13106
Ouzinkie | 8539
Palmer | 10868
Paxson | 14182
Pedro Bay | 11130
Pelican | 8529
Perryville | 9612
Petersburg | 8134
Pilot Point | 10415
Pilot Station | 13334
Pitkas Point | 12785
Platinum | 12107
Point Baker | 7084
Point Hope | 16501
Point Lay | 19109
Port Alexander | 7513
Port Alsworth | 11206
Port Graham | 10136
Port Heiden | 10415
Port Lions | 8539
Port Protection | 7084
Quinhagak | 12107
Rampart | 15528
Red Devil | 13339
Ruby | 13858
Russian Mission | 13382
Saint George | 10242
Saint Mary's | 12785
Saint Michael | 14272
Saint Paul | 11178
Salcha | 14274
Sand Point | 8865
Savoonga | 14971
Saxman | 7165
Scammon Bay | 13048
Selawik | 16827
Seldovia | 10136
Seward | 9188
Shageluk | 13462
Shaktoolik | 13919
Shemya | 9555
Shishmaref | 15790
Shungnak | 15586
Sitka | 8011
Skagway | 8666
Skwentna | 11873
Slana | 14004
Sleetmute | 13339
Soldotna | 11775
South Naknek | 11772
Stebbins | 14272
Sterling | 12006
Stevens Village | 15528
Stony River | 12633
Sutton | 10451
Takotna | 14424
Talkeetna | 11804
Tanacross | 15479
Tanana | 15024
Tatitlek | 9778
Tazlina | 14067
Teller | 15142
Tenakee Springs | 8180
Tetlin | 15400
Thorne Bay | 7802
Togiak | 11306
Tok | 15400
Toksook Bay | 12990
Tonsina | 13928
Trapper Creek | 11863
Tuluksak | 13106
Tuntutuliak | 13106
Tununak | 13106
Twin Hills | 11306
Tyonek | 9742
Ugashik | 10415
Unalakleet | 13919
Unalaska | 9014
Upper Kalskag | 13356
Valdez | 9711
Venetie | 16465
Wainwright | 19824
Wales | 15939
Ward Cove | 7165
Wasilla | 10810
Whale Pass | 7084
White Mountain | 13578
Whittier | 9348
Willow | 12332
Wiseman | 15959
Wrangell | 7968
Yakutat | 9605
Note on A1: S Colt: Initial list from AKWARM 2 Library version June 2011
Note on B1: Sgcolt: values used with ARIS database to generate equations using HDD
Note on A148: S Colt: added by SGC using Petersburg

## W&WW Compiled
Community | W&WW type | Model Type | Population | HDD | SQFT | HF Used | HF w/Retro | kWh/yr | kWh/yr w/ retro | Implementation Cost | HR | Steam District | HR Installed (Yes, No)
Akiak | Circulating/Gravity | Circulating/Gravity | 389 | 13105 | 1280 | 711 | 601 | 98533 | 86541 | 18480 | 0 | 0 | Yes | W&WW type
Ambler | Circulating/Gravity | Circulating/Gravity | 274 | 15675 | [8 empty] | 0
ANAKTUVUK PASS | Circulating/Gravity | Circulating/Gravity | 324 | 18873 | 6373 | 0 | 0 | 260202.3418 | 0 | 0 | 0 | 0 | 0 | Circulating/Gravity | 53
Anvik | Circulating/Gravity | Circulating/Gravity | 79 | 13462 | [8 empty] | 0 | Circulating/Pressure | 5
ATQASUK | Circulating/Gravity | Circulating/Gravity | 229 | 20370 | 12237 | 0 | 0 | 415863.7427 | 0 | 0 | 0 | 0 | 0 | Circulating/ST/DF | 2
Barrow | Circulating/Gravity | Circulating/Gravity | 4469 | 20370 | [8 empty] | 0 | Circulating/Vacuum | 10
BETHEL | Circulating/Gravity | Circulating/Gravity | 6241 | 13334 | 35925 | 15192.654 | 0 | 340683.0661 | 0 | 0 | 0 | 0 | 0 | Closed Haul/Closed Haul | 15
Brevig Mission | Circulating/Gravity | Circulating/Gravity | 411 | 14138 | 2800 | 12811 | 2643 | 118202 | 89551 | 605160 | 0 | 0 | 0 | Closed Haul/Vacuum | 1
Buckland | Circulating/Gravity | Circulating/Gravity | 482 | 16462 | [8 empty] | 0
Chignik | Circulating/Gravity | Circulating/Gravity | 96 | 9612 | [8 empty] | 0 | Pressure/Gravity | 65
Chignik Lagoon | Circulating/Gravity | Circulating/Gravity | 72 | #N/A | [8 empty] | 0 | Pressure/NA | 4
Chignik Lake | Circulating/Gravity | Circulating/Gravity | 70 | 9612 | [8 empty] | 0 | Pressure/ST/DF | 0
Chuathbaluk | Circulating/Gravity | Circulating/Gravity | 134 | 13356 | 971 | 2018 | 357 | 25982 | 24157 | 151210 | 0 | 0 | 0 | Washeteria | 30
Dot Lake | Circulating/Gravity | Circulating/Gravity | 11 | 14829 | [8 empty] | 0 | Watering Point | 9
Eek | Circulating/Pressure | Circulating/Gravity | 349 | 11548 | 2032 | 6965 | 5671 | 42891 | 33405 | 42000 | 0 | 0 | 0 | Wells/Gravity | 2
Elim | Circulating/Gravity | Circulating/Gravity | 350 | 13943 | 1854 | 9363 | 3139 | 78148 | 54777 | 144030 | 0 | 0 | 0 | Wells/NA | 3
Fort Yukon | Circulating/Gravity | Circulating/Gravity | 576 | 16326 | [8 empty] | 0 | Wells/ST/DF | 48
Gambell | Circulating/Gravity | Circulating/Gravity | 713 | 14572 | 4664 | 16307 | 14262 | 107513 | 79008 | 8719 | 0 | 0 | 0 | Wells/ST/OF | 1
Golovin | Circulating/Gravity | Circulating/Gravity | 171 | 13943 | [8 empty] | 0
Grayling | Circulating/Gravity | Circulating/Gravity | 191 | 14574 | 1536 | 6850 | 1747 | 91836 | 65099 | 397160 | 0 | 0 | 0
Gulkana | Circulating/Gravity | Circulating/Gravity | 114 | 14004 | [8 empty] | 0
Holy Cross | Circulating/Gravity | Circulating/Gravity | 177 | 13462 | 704 | 5812 | 758 | 65948 | 56710 | 395681 | 0 | 0 | 0
Hughes | Circulating/Pressure | Circulating/Gravity | 86 | 14942 | [8 empty] | Yes
Huslia | Circulating/Gravity | Circulating/Gravity | 338 | 14942 | 4215 | 6614 | 1093 | 96387.4189 | 46357 | 285680 | 0 | 0 | 0 | Circulating/Gravity | Circulating/Gravity | Circulating/Pressure | Circulating/ST/DF
KAKTOVIK | Circulating/Gravity | Circulating/Gravity | 251 | 20370 | 11320 | 0 | 0 | 532062.7885 | 0 | 0 | 0 | 0 | 0 | Circulating/Vacuum | Circulating/Vacuum | Closed Haul/Vacuum
Kaltag | Circulating/Gravity | Circulating/Gravity | 182 | 14371 | [8 empty] | 0 | Haul | Closed Haul/Closed Haul | Watering Point
Kasigluk | Circulating/Pressure | Circulating/Gravity | 600 | 13106 | [8 empty] | 0 | Pressure/Gravity | Pressure/Gravity | Pressure/NA | Pressure/ST/DF
Kiana | Circulating/Gravity | Circulating/Gravity | 403 | 15675 | [8 empty] | 0 | Washeteria/Honey Bucket | Washeteria
Kobuk | Circulating/Gravity | Circulating/Gravity | 152 | 15716 | [8 empty] | 0 | None | Wells/Gravity | Wells/NA | Wells/ST/DF | Wells/ST/OF
Kotzebue | Circulating/Gravity | Circulating/Gravity | 3153 | 16032 | [8 empty] | 0
Koyuk | Circulating/Gravity | Circulating/Gravity | 321 | 13943 | 2753 | 13303 | 3378 | 90964 | 69040 | 476935 | 0 | 0 | 0
Kwethluk | Circulating/Pressure | Circulating/Gravity | 800 | 13106 | [8 empty] | 0
Lower Kalskag | Circulating/Gravity | Circulating/Gravity | 281 | 13382 | 1512 | 1946 | 179 | 71221 | 58232 | 13350 | 0 | 0 | 0
Marshall | Circulating/Gravity | Circulating/Gravity | 444 | 12785 | 1560 | 6000 | 1457 | 96843 | 75377 | 80355 | 0 | 0 | Yes
McGrath | Circulating/Gravity | Circulating/Gravity | 315 | 14574 | [8 empty] | 0
Minto | Circulating/Gravity | Circulating/Gravity | 205 | 15528 | [8 empty] | Yes
Nenana | Circulating/Gravity | Circulating/Gravity | 396 | 14539 | [8 empty] | 0
New Stuyahok | Circulating/Gravity | Circulating/Gravity | 499 | 11306 | [8 empty] | 0
Newhalen | Circulating/Gravity | Circulating/Gravity | 207 | 11130 | [8 empty] | 0
Noatak | Circulating/Gravity | Circulating/Gravity | 556 | 16758 | [8 empty] | 0
Nome | Circulating/Gravity | Circulating/Gravity | 3721 | 14371 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NUIQSUT | Circulating/Gravity | Circulating/Gravity | 444 | 20370 | 7566 | 0 | 0 | 535641.8207 | 0 | 0 | 0 | 0 | 0
Nulato | Circulating/Gravity | Circulating/Gravity | 246 | 14371 | 6941 | 12506 | 10896 | 143068 | 85565 | 37100 | 0 | 0 | 0
Pilot Station | Circulating/Gravity | Circulating/Gravity | 634 | 13334 | 800 | 2687 | 1367 | 122398 | 71215 | 86637 | 0 | 0 | 0
Pitkas Point | Circulating/Gravity | Circulating/Gravity | 117 | 12785 | 2160 | 5166 | 3356 | 79856 | 33046 | 38740 | 0 | 0 | 0
POINT HOPE | Circulating/Gravity | Circulating/Gravity | 651 | 16501 | 11647 | 0 | 0 | 189313.2038 | 0 | 0 | 0 | 0 | 0
POINT LAY | Circulating/Gravity | Circulating/Gravity | 189 | 19109 | 7537 | 0 | 0 | 198494.2864 | 0 | 0 | 0 | 0 | 0
QUINHAGAK | Circulating/Pressure | Circulating/Gravity | 724 | 12107 | 3072 | 4645.3401 | 0 | 88161.2934 | 0 | 0 | 0 | 0 | 0
Russian Mission | Circulating/Gravity | Circulating/Gravity | 325 | 13382 | 944 | 2340 | 457 | 33713 | 29762 | 5546 | 0 | 0 | 0
Saint Mary's | Circulating/Gravity | Circulating/Gravity | 550 | 12785 | 2160 | 2360.5839 | 0 | 38335.345 | 0 | 0 | 0 | 0 | 0
Scammon Bay | Circulating/Gravity | Circulating/Gravity | 528 | 13048 | [8 empty] | 0
Shaktoolik | Circulating/ST/DF | Circulating/Gravity | 282 | 13919 | 4224 | 25029.6715 | 407 | 80988.362 | 37637 | 326222 | 0 | 0 | 0
Shungnak | Circulating/Gravity | Circulating/Gravity | 308 | 15586 | [8 empty] | 0
Sleetmute | Circulating/ST/DF | Circulating/Gravity | 99 | 13339 | 1386 | 4333.0949 | 182 | 51103.2422 | 21515 | 125700 | 0 | 0 | 0
Tanacross | Circulating/Gravity | Circulating/Gravity | 110 | 15479 | [8 empty] | 0
Tanana | Circulating/Gravity | Circulating/Gravity | 229 | 15024 | [8 empty] | 0
Tok | Circulating/Gravity | Circulating/Gravity | 1246 | 15400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Toksook Bay | Circulating/Gravity | Circulating/Gravity | 623 | 12990 | 354 | 2694 | 1918 | 109786 | 78413 | 14320 | 0 | 0 | Yes
Unalakleet | Circulating/Gravity | Circulating/Gravity | 744 | 13919 | [8 empty] | 0
WAINWRIGHT | Circulating/Gravity | Circulating/Gravity | 553 | 19824 | 14501 | 0 | 0 | 262230.3601 | 0 | 0 | 0 | 0 | 0
White Mountain | Circulating/Gravity | Circulating/Gravity | 203 | 13578 | [8 empty] | 0
Alakanuk | Circulating/Vacuum | Circulating/Vacuum | 730 | 13339 | 9860 | 24327 | 17732 | 276196 | 204113 | 95220 | 0 | 0 | Yes
Chevak | Circulating/Vacuum | Circulating/Vacuum | 989 | 13339 | 2584 | 12134 | 5727 | 265409 | 196045 | 333325 | 0 | 0 | 0
Deering | Closed Haul/Vacuum | Circulating/Vacuum | 152 | 16462 | [8 empty] | 0
Emmonak | Circulating/Vacuum | Circulating/Vacuum | 841 | 13467 | 4952 | 18490 | 12086 | 446534 | 362954 | 150539 | 0 | 0 | Yes
Hooper Bay | Circulating/Vacuum | Circulating/Vacuum | 1178 | 13334 | 33890 | 43350 | 0 | 430807.8766 | 0 | 0 | 0 | 0 | 0
Kotlik | Circulating/Vacuum | Circulating/Vacuum | 653 | 13467 | [8 empty] | 0
Noorvik | Circulating/Vacuum | Circulating/Vacuum | 639 | 15675 | [8 empty] | 0
Nunam Iqua | Circulating/Vacuum | Circulating/Vacuum | 181 | #N/A | 4620 | 3857 | 1928 | 149965 | 111853 | 28220 | 7550.7246 | 3611.8033 | Yes
Saint Michael | Circulating/Vacuum | Circulating/Vacuum | 418 | 14272 | [8 empty] | 0
Savoonga | Circulating/Vacuum | Circulating/Vacuum | 718 | 14971 | 1722 | 9626 | 333 | 166485 | 158007 | 330630 | 0 | 0 | 0
Selawik | Circulating/Vacuum | Circulating/Vacuum | 876 | 16827 | 6820 | 15595 | 9703.2733 | 734410 | 402276 | 508955 | 0 | 0 | 0
Beaver | Closed Haul/Closed Haul | Haul | 58 | 15788 | [8 empty] | Yes
Chitina | Watering Point | Haul | 116 | 13200 | [8 empty] | 0
Dry Creek | Watering Point | Haul | 102 | 14829 | [8 empty] | 0
EAGLE | Watering Point | Haul | 81 | 14891 | 684 | 0 | 0 | 1176.5106 | 0 | 0 | 0 | 0 | 0
Fox | Watering Point | Haul | 440 | #N/A | [8 empty] | 0
Galena | Closed Haul/Closed Haul | Haul | 449 | 14847 | [8 empty] | Yes
Game Creek | Watering Point | Haul | 18 | #N/A | [8 empty] | 0
Halibut Cove | Watering Point | Haul | 65 | 10349 | [8 empty] | 0
Kachemak | Closed Haul/Closed Haul | Haul | #N/A | #N/A | [8 empty] | 0
Kenny Lake | Watering Point | Haul | 307 | 14036 | [8 empty] | 0
Kwigillingok | Closed Haul/Closed Haul | Haul | 364 | 12990 | [8 empty] | Yes
Manley Hot Springs | Watering Point | Haul | 117 | 14593 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mekoryuk | Closed Haul/Closed Haul | Haul | 210 | #N/A | [8 empty] | 0
Mendeltna | Closed Haul/Closed Haul | Haul | 38 | #N/A | [8 empty] | 0
Napakiak | Closed Haul/Closed Haul | Haul | 387 | 13106 | [8 empty] | 0
Napaskiak | Closed Haul/Closed Haul | Haul | 451 | 13106 | 2961 | 9161 | 5839 | 55111 | 49028 | 17735 | 0 | 0 | 0
Nightmute | Closed Haul/Closed Haul | Haul | 274 | 13048 | 450 | 0 | 0 | 21148 | 10156 | 4905 | 0 | 0 | 0
NORTHWAY | Closed Haul/Closed Haul | Haul | 66 | 15763 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Northway Village | Closed Haul/Closed Haul | Haul | 112 | #N/A | [8 empty] | 0
Nunapitchuk | Closed Haul/Closed Haul | Haul | 563 | 13106 | 3270 | 7410 | 4684 | 33613 | 31010 | 16650 | 0 | 0 | 0
Shishmaref | Closed Haul/Closed Haul | Haul | 607 | 15790 | [8 empty] | 0
Takotna | Watering Point | Haul | 62 | 14424 | [8 empty] | 0
Tetlin | Closed Haul/Closed Haul | Haul | 131 | 15400 | [8 empty] | 0
Tuntutuliak | Closed Haul/Closed Haul | Haul | 437 | 13106 | 4480 | 14629.3285 | 1083 | 17702.5476 | 11146 | 311025 | 0 | 0 | 0
Aleknagik | Wells/ST/DF | None | 197 | 11751 | [8 empty] | 0
Anderson | Wells/Gravity | None | 209 | 14274 | [8 empty] | 0
Aniak | Wells/ST/DF | None | 533 | 13356 | [8 empty] | 0
Bettles | Wells/ST/DF | None | 13 | 15959 | [8 empty] | 0
Cantwell | Wells/ST/DF | None | 182 | 13893 | [8 empty] | 0
Central | Wells/ST/DF | None | 86 | 16315 | [8 empty] | 0
Chase | Wells/ST/DF | None | 41 | #N/A | [8 empty] | 0
Chickaloon | Wells/ST/DF | None | 232 | 11790 | [8 empty] | 0
Chiniak | Wells/ST/DF | None | 48 | 8539 | [8 empty] | 0
Chistochina | Wells/ST/DF | None | 94 | 13534 | [8 empty] | 0
Clam Gulch | Wells/ST/DF | None | 183 | 11375 | [8 empty] | 0
Cooper Landing | Wells/ST/DF | None | 295 | 10527 | [8 empty] | 0
Copper Center | Wells/ST/DF | None | 283 | 14101 | [8 empty] | 0
Copperville | Wells/ST/DF | None | #N/A | #N/A | [8 empty] | 0
Crown Point | Wells/ST/DF | None | 71 | #N/A | [8 empty] | 0
Delta Junction | Wells/ST/DF | None | 1089 | 13549 | [8 empty] | 0
Ekwok | Wells/ST/DF | None | 119 | 11306 | [8 empty] | 0
Elfin Cove | Wells/ST/OF | None | 16 | 8140 | [8 empty] | 0
Evansville | Wells/ST/DF | None | 8 | 15788 | [8 empty] | 0
False Pass | Wells/ST/DF | None | 34 | 9733 | [8 empty] | 0
Ferry | Wells/ST/DF | None | 25 | #N/A | [8 empty] | 0
Fox River | Wells/ST/DF | None | 644 | #N/A | [8 empty] | 0
Gakona | Wells/ST/DF | None | 205 | 13534 | [8 empty] | 0
Glennallen | Wells/ST/DF | None | 473 | #N/A | [8 empty] | 0
Gustavus | Wells/ST/DF | None | 516 | 8858 | [8 empty] | 0
Harding-Birch Lakes | Wells/ST/DF | None | 319 | #N/A | [8 empty] | 0
Hollis | None | None | 94 | 7802 | [8 empty] | 0
Hope | Wells/ST/DF | None | 196 | 10100 | [8 empty] | 0
Hyder | Wells/ST/DF | None | 91 | 7165 | [8 empty] | 0
Igiugig | Wells/ST/DF | None | 53 | 11306 | [8 empty] | Yes
Iliamna | Wells/ST/DF | None | 97 | 11130 | [8 empty] | 0
Kasilof | Wells/ST/DF | None | 574 | 11337 | [8 empty] | 0
Lake Minchumina | Wells/ST/DF | None | 10 | #N/A | [8 empty] | 0
Livengood | Wells/ST/DF | None | 12 | #N/A | [8 empty] | 0
Lowell Point | None | None | 68 | #N/A | [8 empty] | 0
Lutak | Wells/ST/DF | None | 78 | #N/A | [8 empty] | 0
Mentasta Lake | Wells/ST/DF | None | 125 | 15400 | [8 empty] | 0
Moose Creek | Wells/ST/DF | None | 631 | #N/A | [8 empty] | 0
Moose Pass | Wells/ST/DF | None | 234 | 11126 | [8 empty] | 0
Mosquito Lake | Wells/ST/DF | None | 262 | #N/A | [8 empty] | 0
Naknek | Wells/ST/DF | None | 523 | 11716 | 3020 | 1877 | 1352 | 5494 | 5012 | 9366 | 0 | 0 | 0
Naukati Bay | None | None | 121 | #N/A | [8 empty] | 0
Nikolai | Wells/NA | None | 83 | 15214 | [8 empty] | 0
Northway Junction | Wells/ST/DF | None | 62 | #N/A | [8 empty] | 0
Paxson | Wells/ST/DF | None | 29 | 14182 | [8 empty] | 0
Pedro Bay | Wells/ST/DF | None | 47 | 11130 | [8 empty] | 0
Point Baker | Wells/ST/DF | None | 13 | 7084 | [8 empty] | 0
Port Heiden | Wells/NA | None | 114 | 10415 | [8 empty] | 0
Port Protection | None | None | 56 | 7084 | [8 empty] | 0
Portage Creek | None | None | 1 | #N/A | [8 empty] | 0
Primrose | Wells/ST/DF | None | 73 | #N/A | [8 empty] | 0
Red Devil | Wells/NA | None | 19 | 13339 | [8 empty] | 0
Salamatof | Wells/ST/DF | None | 1120 | #N/A | [8 empty] | 0
Slana | Wells/ST/DF | None | 149 | 14004 | [8 empty] | 0
Tazlina | Wells/ST/DF | None | 270 | 14067 | [8 empty] | 0
Tonsina | Wells/ST/DF | None | 85 | 13928 | [8 empty] | 0
Trapper Creek | Wells/ST/DF | None | 472 | 11863 | [8 empty] | 0
Two Rivers | Wells/ST/DF | None | 680 | #N/A | [8 empty] | 0
Upper Kalskag | Wells/Gravity | None | #N/A | 13356 | 30 | 0 | 0 | 26700 | 8478 | 20200 | 0 | 0 | 0
Whale Pass | None | None | 39 | 7084 | [8 empty] | 0
Adak | Pressure/Gravity | Pressure/Gravity | 247 | 9046 | [8 empty] | 0
Akhiok | Pressure/Gravity | Pressure/Gravity | 81 | 9102 | [8 empty] | 0
Akutan | Pressure/Gravity | Pressure/Gravity | 1052 | 8554 | [8 empty] | 0
Anchor Point | Pressure/NA | Pressure/Gravity | 2059 | 10115 | [8 empty] | 0
Angoon | Pressure/Gravity | Pressure/Gravity | 416 | 8450 | [8 empty] | 0
Atka | Pressure/Gravity | Pressure/Gravity | 70 | 9054 | [8 empty] | 0
Chenega Bay | Pressure/Gravity | Pressure/Gravity | 57 | #N/A | [8 empty] | 0
Clark's Point | Pressure/Gravity | Pressure/Gravity | 48 | 11306 | [8 empty] | 0
Coffman Cove | Pressure/Gravity | Pressure/Gravity | 174 | 8104 | [8 empty] | 0
Cold Bay | Pressure/Gravity | Pressure/Gravity | 89 | 9877 | [8 empty] | 0
Cordova | Pressure/Gravity | Pressure/Gravity | 2286 | 9004 | [8 empty] | 0
Craig | Pressure/Gravity | Pressure/Gravity | 1198 | 7487 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Dillingham | Pressure/Gravity | Pressure/Gravity | 2431 | 11306 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Egegik | Pressure/Gravity | Pressure/Gravity | 106 | 11836 | [8 empty] | 0
Goodnews Bay | Pressure/Gravity | Pressure/Gravity | 259 | 12107 | 2196 | 5024 | 477 | 20944 | 19980 | 22400 | 0 | 0 | 0
Haines | Pressure/Gravity | Pressure/Gravity | 1805 | 8505 | xxx | 6900 | 0 | 260000 | 0 | 0 | 0 | 0 | 0
Happy Valley | Pressure/Gravity | Pressure/Gravity | 566 | #N/A | [8 empty] | 0
HOONAH | Pressure/Gravity | Pressure/Gravity | 787 | 9105 | 5880 | 2324.2358 | 0 | 163503.1565 | 0 | 0 | 0 | 0 | 0
Hydaburg | Pressure/Gravity | Pressure/Gravity | 405 | 7084 | [8 empty] | 0
JUNEAU | Pressure/Gravity | Pressure/Gravity | 33026 | 8897 | 50231 | 100753.5766 | 0 | 945058.5054 | 0 | 0 | 0 | 0 | 0
KAKE | Pressure/Gravity | Pressure/Gravity | 626 | 8527 | 1200 | 876.7883 | 0 | 12463.7788 | 0 | 0 | 0 | 0 | 0
Karluk | Pressure/Gravity | Pressure/Gravity | 43 | 8539 | [8 empty] | 0
Kasaan | Pressure/Gravity | Pressure/Gravity | 75 | 7802 | [8 empty] | 0
King Cove | Pressure/Gravity | Pressure/Gravity | 905 | 9733 | [8 empty] | 0
King Salmon | Pressure/Gravity | Pressure/Gravity | 335 | 11716 | [8 empty] | 0
Klawock | Pressure/Gravity | Pressure/Gravity | 802 | 7084 | [8 empty] | 0
Klukwan | Pressure/Gravity | Pressure/Gravity | 84 | 10476 | [8 empty] | 0
KODIAK | Pressure/Gravity | Pressure/Gravity | 6329 | 8837 | 12100 | 16303.4453 | 0 | 491998.928 | 0 | 0 | 0 | 0 | 0
Kokhanok | Pressure/Gravity | Pressure/Gravity | 167 | 11610 | [8 empty] | 0
Koliganek | Pressure/Gravity | Pressure/Gravity | 231 | 11306 | [8 empty] | 0
Larsen Bay | Pressure/Gravity | Pressure/Gravity | 71 | 9065 | [8 empty] | 0
Levelock | Pressure/Gravity | Pressure/Gravity | 80 | 11306 | [8 empty] | 0
Manokotak | Pressure/Gravity | Pressure/Gravity | 500 | 11306 | [8 empty] | 0
McCarthy | Pressure/Gravity | Pressure/Gravity | 34 | 13053 | [8 empty] | 0
McKinley Park | Pressure/Gravity | Pressure/Gravity | 179 | #N/A | [8 empty] | 0
Metlakatla | Pressure/Gravity | Pressure/Gravity | 1480 | 7000 | [8 empty] | 0
Mountain Village | Pressure/Gravity | Pressure/Gravity | 857 | 13448 | [8 empty] | 0
Nanwalek | Pressure/Gravity | Pressure/Gravity | 275 | 10136 | [8 empty] | 0
Nelson Lagoon | Pressure/NA | Pressure/Gravity | 44 | 8865 | [8 empty] | 0
Nikolaevsk | Pressure/Gravity | Pressure/Gravity | 270 | 11155 | [8 empty] | 0
Nikolski | Pressure/NA | Pressure/Gravity | 15 | 9555 | [8 empty] | 0
Nondalton | Pressure/Gravity | Pressure/Gravity | 164 | 11130 | [8 empty] | 0
Old Harbor | Pressure/Gravity | Pressure/Gravity | 213 | 8614 | [8 empty] | 0
Ouzinkie | Pressure/Gravity | Pressure/Gravity | 171 | 8539 | [8 empty] | 0
Pelican | Pressure/Gravity | Pressure/Gravity | 75 | 8529 | [8 empty] | 0
Perryville | Pressure/NA | Pressure/Gravity | 101 | 9612 | [8 empty] | 0
Petersburg | Pressure/Gravity | Pressure/Gravity | 2964 | 8134 | [8 empty] | 0
Pilot Point | Pressure/Gravity | Pressure/Gravity | 78 | 10415 | [8 empty] | 0
Port Graham | Pressure/Gravity | Pressure/Gravity | 168 | 10136 | [8 empty] | 0
PORT LIONS | Pressure/Gravity | Pressure/Gravity | 176 | 8539 | 1200 | 534.2628 | 0 | 13553.122 | 0 | 0 | 0 | 0 | 0
Saint George | Pressure/Gravity | Pressure/Gravity | 92 | 10242 | [8 empty] | 0
Saint Paul | Pressure/Gravity | Pressure/Gravity | 436 | 11178 | [8 empty] | 0
Sand Point | Pressure/Gravity | Pressure/Gravity | 946 | 8865 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Saxman | Pressure/Gravity | Pressure/Gravity | 419 | 7165 | [8 empty] | 0
Seldovia | Pressure/Gravity | Pressure/Gravity | 233 | 10136 | [8 empty] | 0
SITKA | Pressure/Gravity | Pressure/Gravity | 9061 | 8011 | 17100 | 11562.0438 | 0 | 474844.2736 | 0 | 0 | 0 | 0 | 0
SKAGWAY | Pressure/Gravity | Pressure/Gravity | 967 | 8666 | 7700 | 7665.635 | 0 | 145441.309 | 0 | 0 | 0 | 0 | 0
South Naknek | Pressure/Gravity | Pressure/Gravity | 84 | 11772 | [8 empty] | 0
Tatitlek | Pressure/Gravity | Pressure/Gravity | 98 | 9778 | [8 empty] | 0
Tenakee Springs | Pressure/Gravity | Pressure/Gravity | 128 | 8180 | [8 empty] | 0
Thorne Bay | Pressure/Gravity | Pressure/Gravity | 530 | 7802 | [8 empty] | 0
Togiak | Pressure/Gravity | Pressure/Gravity | 876 | 11306 | [8 empty] | 0
Twin Hills | Pressure/Gravity | Pressure/Gravity | 87 | 11306 | 600 | 999 | 841 | 13723 | 5012 | 42667 | 0 | 0 | 0
Tyonek | Pressure/Gravity | Pressure/Gravity | 174 | 9742 | [8 empty] | 0
Unalaska | Pressure/Gravity | Pressure/Gravity | 4689 | 9014 | [8 empty] | 0
Valdez | Pressure/Gravity | Pressure/Gravity | 4032 | 9711 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Whittier | Pressure/Gravity | Pressure/Gravity | 234 | 9348 | [8 empty] | 0
Wrangell | Pressure/Gravity | Pressure/Gravity | 2406 | 7968 | [8 empty] | 0
Yakutat | Pressure/Gravity | Pressure/Gravity | 631 | 9605 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Alatna | Washeteria | Washeteria/Honey Bucket | 21 | 16625 | [8 empty] | 0
Allakaket | Washeteria | Washeteria/Honey Bucket | 111 | 16625 | [8 empty] | Yes
Arctic Village | Washeteria | Washeteria/Honey Bucket | 192 | 17356 | [8 empty] | 0
Atmautluak | Washeteria | Washeteria/Honey Bucket | 319 | 13106 | [8 empty] | 0
Birch Creek | Washeteria | Washeteria/Honey Bucket | 22 | 16326 | [8 empty] | 0
Chalkyitsik | Washeteria | Washeteria/Honey Bucket | 77 | 14274 | [8 empty] | 0
Chefornak | Washeteria | Washeteria/Honey Bucket | 420 | 12990 | 950 | 2060 | 765 | 46022 | 30819 | 65358 | 0 | 0 | Yes
Circle | Washeteria | Washeteria/Honey Bucket | 119 | 16349 | [8 empty] | 0
Crooked Creek | Washeteria | Washeteria/Honey Bucket | 105 | 13552 | [8 empty] | Yes
Diomede | Washeteria | Washeteria/Honey Bucket | 111 | 15939 | [8 empty] | 0
Eagle Village | Washeteria | Washeteria/Honey Bucket | 65 | #N/A | [8 empty] | 0
Healy Lake | Washeteria | Washeteria/Honey Bucket | 7 | #N/A | [8 empty] | 0
Kipnuk | Washeteria | Washeteria/Honey Bucket | 643 | 12990 |  | 0 | 0 | 0 | 0 | 153200 | 0 | 0 | 0
Kivalina | Washeteria | Washeteria/Honey Bucket | 411 | 16758 | [8 empty] | 0
Kongiganak | Washeteria | Washeteria/Honey Bucket | 501 | 11306 | 8903 | 4581.9416 | 0 | 36182.8264 | 0 | 0 | 0 | 0 | Yes
Koyukuk | Washeteria | Washeteria/Honey Bucket | 92 | 14371 | 1089 | 1811.3869 | 0 | 21248.1912 | 0 | 0 | 0 | 0 | 0
Lime Village | Washeteria | Washeteria/Honey Bucket | 29 | 13339 | [8 empty] | 0
Newtok | Washeteria | Washeteria/Honey Bucket | 380 | 13048 | 1568 | 0 | 0 | 22565.1079 | 9127 | 1500 | 0 | 0 | Yes
Oscarville | Washeteria | Washeteria/Honey Bucket | 53 | 13106 | [8 empty] | 0
Platinum | Washeteria | Washeteria/Honey Bucket | 60 | 12107 | [8 empty] | 0
Rampart | Washeteria | Washeteria/Honey Bucket | 21 | 15528 | [8 empty] | 0
Ruby | Washeteria | Washeteria/Honey Bucket | 186 | 13858 | [8 empty] | Yes
Stebbins | Washeteria | Washeteria/Honey Bucket | 608 | 14272 | [8 empty] | 0
Stevens Village | Washeteria | Washeteria/Honey Bucket | 46 | 15528 | [8 empty] | Yes
Stony River | Washeteria | Washeteria/Honey Bucket | 34 | 12633 | [8 empty] | 0
Teller | Washeteria | Washeteria/Honey Bucket | 256 | 15142 | 3039 | 7716 | 6981 | 35529 | 817 | 23100 | 0 | 0 | 0
Tuluksak | Washeteria | Washeteria/Honey Bucket | 372 | 13106 | 1800 | 6255 | 4012 | 34664 | 31954 | 20650 | 0 | 0 | 0
Tununak | Washeteria | Washeteria/Honey Bucket | 384 | 13106 | 2048 | 2174 | 1815 | 37367 | 28294 | 29123 | 0 | 0 | 0
Venetie | Washeteria | Washeteria/Honey Bucket | 186 | 16465 | [8 empty] | 0
Wales | Washeteria | Washeteria/Honey Bucket | 146 | 15939 | [8 empty] | 0
Akiachak |  | FALSE | 671 | 13213 | [8 empty] | Yes
Ninilchik | 0 | FALSE | 847 | 11155 | [8 empty] | 0
Port Alexander | 0 | FALSE | 45 | 7513 | [8 empty] | 0
Shageluk | 0 | FALSE | 79 | 13462 | [8 empty] | 0